## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-07-08 | ng/L | 0.65798 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 16.11 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65798 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65798 |  | 0.65798 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-08-16 | ng/L | 0.73908 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 8.01 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73908 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73908 |  | 0.73908 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-07-19 | ng/L | 0.65177 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 16.11 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65177 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65177 |  | 0.65177 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-12-02 | ng/L | 0.60832 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 16.11 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 9.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60832 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60832 |  | 0.60832 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-04-15 | ng/L | 0.545 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 8.055 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 4.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.545 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.545 |  | 0.545 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-07-24 | ng/L | 0.80199 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 8.055 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 6.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80199 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81523 | 0.10244 | 0.80199 | 0.2036 | 0.15093
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-10-07 | ng/L | 0.92365 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 8.055 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 7.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92365 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81523 | 0.10244 | 0.80199 | 0.2036 | 0.15093
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-12-02 | ng/L | 0.72005 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 16.11 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72005 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81523 | 0.10244 | 0.80199 | 0.2036 | 0.15093
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-09-04 | ng/L | 0.5 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 16.02 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | E | 4 | 8.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60581 | 0.14963 | 0.60581 | 0.21161 | 0.15686
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-09-10 | ng/L | 0.71161 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 8.01 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | E | 4 | 5.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71161 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60581 | 0.14963 | 0.60581 | 0.21161 | 0.15686
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-12 | ng/L | 0.71453 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.84 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 8.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71453 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66427 | 0.071069 | 0.66427 | 0.10051 | 0.074505
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-12 | ng/L | 0.61402 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.84 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 7.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61402 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66427 | 0.071069 | 0.66427 | 0.10051 | 0.074505
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-07-31 | ng/L | 0.67665 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.01 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67665 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68539 | 0.012359 | 0.68539 | 0.017478 | 0.012956
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-04-09 | ng/L | 0.69413 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.01 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69413 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68539 | 0.012359 | 0.68539 | 0.017478 | 0.012956
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-08-17 | ng/L | 0.74657 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.01 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74657 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77591 | 0.041491 | 0.77591 | 0.058677 | 0.043496
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-10-07 | ng/L | 0.80524 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.02 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80524 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77591 | 0.041491 | 0.77591 | 0.058677 | 0.043496
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-04 | ng/L | 0.94833 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 6 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94833 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94833 |  | 0.94833 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-11 | ng/L | 0.71791 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.92 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 4.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71791 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77984 | 0.076151 | 0.75676 | 0.14696 | 0.10894
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-11 | ng/L | 0.75676 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.92 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 4.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75676 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77984 | 0.076151 | 0.75676 | 0.14696 | 0.10894
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2015-08-11 | ng/L | 0.86486 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.92 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 5.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86486 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77984 | 0.076151 | 0.75676 | 0.14696 | 0.10894
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-04-24 | ng/L | 0.7128 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 89.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7128 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-05-03 | ng/L | 0.64 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-05-29 | ng/L | 0.728 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 182 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.728 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-06-05 | ng/L | 0.808 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 404 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.808 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-06-18 | ng/L | 0.692 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 173 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234
2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 2437 | 68659LCM60 | 2014-07-02 | ng/L | 0.618 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | . | 4 | 309 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.618 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.6998 | 0.067823 | 0.7024 | 0.088 | 0.065234