## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-07-08 | ng/L | 0.71473 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 32.04 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 22.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71473 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71473 |  | 0.71473 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-08-16 | ng/L | 0.88679 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 15.9 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88679 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88679 |  | 0.88679 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-07-19 | ng/L | 0.93633 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 32.04 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93633 |  | 0.93633 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-12-02 | ng/L | 0.85518 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 32.04 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 27.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85518 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85518 |  | 0.85518 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-04-15 | ng/L | 0.73658 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 16.02 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73658 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73658 |  | 0.73658 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-07-24 | ng/L | 1.0424 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 16.02 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83333 | 0.18223 | 0.74906 | 0.33396 | 0.24756
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-10-07 | ng/L | 0.74906 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 16.02 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74906 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83333 | 0.18223 | 0.74906 | 0.33396 | 0.24756
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-12-02 | ng/L | 0.70849 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 32.04 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70849 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.83333 | 0.18223 | 0.74906 | 0.33396 | 0.24756
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-09-04 | ng/L | 0.47484 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 31.8 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47484 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69025 | 0.30463 | 0.69025 | 0.43082 | 0.31936
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-09-10 | ng/L | 0.90566 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 15.9 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90566 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69025 | 0.30463 | 0.69025 | 0.43082 | 0.31936
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-12 | ng/L | 0.99576 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 23.6 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 23.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99576 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88277 | 0.10839 | 0.87288 | 0.2161 | 0.16019
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-12 | ng/L | 0.87288 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 23.6 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87288 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88277 | 0.10839 | 0.87288 | 0.2161 | 0.16019
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-12 | ng/L | 0.77966 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 23.6 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77966 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88277 | 0.10839 | 0.87288 | 0.2161 | 0.16019
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-07-31 | ng/L | 0.79874 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 15.9 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79874 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.048919 | 0.83333 | 0.069182 | 0.051284
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-04-09 | ng/L | 0.86792 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 15.9 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86792 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.048919 | 0.83333 | 0.069182 | 0.051284
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-08-17 | ng/L | 0.73585 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 15.9 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73585 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71384 | 0.03113 | 0.71384 | 0.044025 | 0.032635
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2014-10-07 | ng/L | 0.69182 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 31.8 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69182 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71384 | 0.03113 | 0.71384 | 0.044025 | 0.032635
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-04 | ng/L | 1.4016 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 12.2 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | . | 8 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4016 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4016 |  | 1.4016 | 0 | 0
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-11 | ng/L | 0.81864 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.8 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 9.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81864 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9 | 0.078187 | 0.90678 | 0.15593 | 0.11559
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-11 | ng/L | 0.90678 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.8 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90678 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9 | 0.078187 | 0.90678 | 0.15593 | 0.11559
2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 2437 | 68660LCM60 | 2015-08-11 | ng/L | 0.97458 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.8 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE_(OIET) | E | 8 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97458 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9 | 0.078187 | 0.90678 | 0.15593 | 0.11559