## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-07-19 | ng/L | 1.2315 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 24.36 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2315 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2315 |  | 1.2315 | 0 | 0
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-12-02 | ng/L | 0.92775 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 24.36 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92775 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92775 |  | 0.92775 | 0 | 0
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-07-24 | ng/L | 1.5846 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.18 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 19.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5846 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3602 | 0.32023 | 1.5025 | 0.59113 | 0.4382
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-10-07 | ng/L | 1.5025 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.18 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5025 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3602 | 0.32023 | 1.5025 | 0.59113 | 0.4382
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-12-02 | ng/L | 0.99343 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 24.36 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 24.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99343 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3602 | 0.32023 | 1.5025 | 0.59113 | 0.4382
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-08-17 | ng/L | 1.487 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 12.105 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | E | 6 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.487 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2247 | 0.37093 | 1.2247 | 0.52458 | 0.38886
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2014-10-07 | ng/L | 0.96241 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 24.21 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | . | 6 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96241 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2247 | 0.37093 | 1.2247 | 0.52458 | 0.38886
2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 2437 | 68656LCM60 | 2015-08-04 | ng/L | 0.86264 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 9.1 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | E | 6 | 7.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86264 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86264 |  | 0.86264 | 0 | 0