## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-07-08 | ng/L | 0.98857 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 20.13 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98857 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98857 |  | 0.98857 | 0 | 0
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-08-16 | ng/L | 1.1028 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 10.065 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1028 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1028 |  | 1.1028 | 0 | 0
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-08-20 | ng/L | 1.0035 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 10.065 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 10.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0035 |  | 1.0035 | 0 | 0
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-09-23 | ng/L | 0.78617 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.125 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 7.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78617 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83259 | 0.13125 | 0.78617 | 0.24988 | 0.18523
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-11-18 | ng/L | 0.73086 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 20.25 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73086 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83259 | 0.13125 | 0.78617 | 0.24988 | 0.18523
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-04-08 | ng/L | 0.98074 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.125 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 9.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98074 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83259 | 0.13125 | 0.78617 | 0.24988 | 0.18523
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-12-16 | ng/L | 0.9538 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 20.13 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 19.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9538 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9538 |  | 0.9538 | 0 | 0
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-05-17 | ng/L | 0.86617 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 10.125 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 8.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86617 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8879 | 0.10054 | 0.86617 | 0.19753 | 0.14643
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-06-11 | ng/L | 0.99753 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 40.5 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 40.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99753 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8879 | 0.10054 | 0.86617 | 0.19753 | 0.14643
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-06-26 | ng/L | 0.8 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 20.25 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8879 | 0.10054 | 0.86617 | 0.19753 | 0.14643
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-07-24 | ng/L | 0.80889 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.125 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 8.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80889 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8242 | 0.02165 | 0.8242 | 0.030617 | 0.022696
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-12-02 | ng/L | 0.83951 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 20.25 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83951 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8242 | 0.02165 | 0.8242 | 0.030617 | 0.022696
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-09-04 | ng/L | 0.76543 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 20.25 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | E | 5 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76543 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78025 | 0.020951 | 0.78025 | 0.02963 | 0.021964
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2014-09-10 | ng/L | 0.79506 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 10.125 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 8.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79506 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78025 | 0.020951 | 0.78025 | 0.02963 | 0.021964
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-07-15 | ng/L | 1.1933 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1933 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1933 |  | 1.1933 | 0 | 0
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-08-12 | ng/L | 1.1 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84222 | 0.22414 | 0.73333 | 0.40667 | 0.30146
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-08-12 | ng/L | 0.73333 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84222 | 0.22414 | 0.73333 | 0.40667 | 0.30146
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-08-12 | ng/L | 0.69333 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69333 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84222 | 0.22414 | 0.73333 | 0.40667 | 0.30146
2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 2437 | 68595LCM60 | 2015-08-04 | ng/L | 0.87517 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 7.45 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | . | 5 | 6.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87517 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87517 |  | 0.87517 | 0 | 0