## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2014-07-19 | ng/L | 1.0894 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 570.96 | 3,4-DICHLOROPHENYLUREA | . | 144 | 622 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0894 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0894 |  | 1.0894 | 0 | 0
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2014-08-20 | ng/L | 1.0614 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 285.48 | 3,4-DICHLOROPHENYLUREA | . | 144 | 303 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0614 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0614 |  | 1.0614 | 0 | 0
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2014-09-23 | ng/L | 1.1069 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 285.48 | 3,4-DICHLOROPHENYLUREA | . | 144 | 316 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1069 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0672 | 0.14768 | 1.1069 | 0.28724 | 0.21292
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2014-11-18 | ng/L | 1.191 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 570.96 | 3,4-DICHLOROPHENYLUREA | . | 144 | 680 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.191 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0672 | 0.14768 | 1.1069 | 0.28724 | 0.21292
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2015-04-08 | ng/L | 0.90374 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 285.48 | 3,4-DICHLOROPHENYLUREA | . | 144 | 258 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90374 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0672 | 0.14768 | 1.1069 | 0.28724 | 0.21292
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2014-07-31 | ng/L | 1.0579 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 285.48 | 3,4-DICHLOROPHENYLUREA | . | 144 | 302 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0579 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97555 | 0.11641 | 0.97555 | 0.16464 | 0.12204
3,4-DICHLOROPHENYLUREA | 2437 | 68226LCM60 | 2015-04-09 | ng/L | 0.89323 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 285.48 | 3,4-DICHLOROPHENYLUREA | . | 144 | 255 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89323 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97555 | 0.11641 | 0.97555 | 0.16464 | 0.12204