## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-07-08 | ng/L | 0.96459 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 245.7 | 3-PHENOXYBENZOIC_ACID | . | 61 | 237 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96459 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96459 |  | 0.96459 | 0 | 0
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-08-11 | ng/L | 0.8998 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 122.25 | 3-PHENOXYBENZOIC_ACID | . | 61 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8998 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8998 |  | 0.8998 | 0 | 0
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-07-19 | ng/L | 1.1722 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 245.7 | 3-PHENOXYBENZOIC_ACID | . | 61 | 288 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1722 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1722 |  | 1.1722 | 0 | 0
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-12-03 | ng/L | 0.9768 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 245.7 | 3-PHENOXYBENZOIC_ACID | . | 61 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9768 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9768 |  | 0.9768 | 0 | 0
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2015-04-15 | ng/L | 1.2129 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 122.85 | 3-PHENOXYBENZOIC_ACID | . | 61 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2129 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2129 |  | 1.2129 | 0 | 0
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-07-24 | ng/L | 1.3268 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 122.85 | 3-PHENOXYBENZOIC_ACID | E | 61 | 163 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3268 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0772 | 0.21756 | 0.9768 | 0.39886 | 0.29567
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-10-07 | ng/L | 0.92796 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 122.85 | 3-PHENOXYBENZOIC_ACID | . | 61 | 114 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92796 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0772 | 0.21756 | 0.9768 | 0.39886 | 0.29567
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-12-03 | ng/L | 0.9768 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 245.7 | 3-PHENOXYBENZOIC_ACID | . | 61 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9768 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0772 | 0.21756 | 0.9768 | 0.39886 | 0.29567
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-09-03 | ng/L | 0.50716 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 244.5 | 3-PHENOXYBENZOIC_ACID | . | 61 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50716 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7771 | 0.38175 | 0.7771 | 0.53988 | 0.40021
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-09-10 | ng/L | 1.047 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 122.25 | 3-PHENOXYBENZOIC_ACID | . | 61 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.047 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7771 | 0.38175 | 0.7771 | 0.53988 | 0.40021
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-07-30 | ng/L | 0.92434 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 122.25 | 3-PHENOXYBENZOIC_ACID | . | 61 | 113 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92434 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96933 | 0.063625 | 0.96933 | 0.08998 | 0.066701
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2015-04-02 | ng/L | 1.0143 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 122.25 | 3-PHENOXYBENZOIC_ACID | . | 61 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0143 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96933 | 0.063625 | 0.96933 | 0.08998 | 0.066701
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-08-13 | ng/L | 1.1125 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 122.25 | 3-PHENOXYBENZOIC_ACID | . | 61 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0716 | 0.057841 | 1.0716 | 0.0818 | 0.060637
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2014-10-07 | ng/L | 1.0307 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 244.5 | 3-PHENOXYBENZOIC_ACID | . | 61 | 252 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0307 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0716 | 0.057841 | 1.0716 | 0.0818 | 0.060637
3-PHENOXYBENZOIC ACID | 2437 | 68873LCM60 | 2015-08-03 | ng/L | 0.91186 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 91.9 | 3-PHENOXYBENZOIC_ACID | . | 61 | 83.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91186 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91186 |  | 0.91186 | 0 | 0