## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-HYDROXYCHLOROTHALONIL | 2437 | 68336LCM60 | 2015-08-11 | ng/L | 1.3061 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 147 | 4-HYDROXYCHLOROTHALONIL | . | 98 | 192 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3061 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0952 | 0.21088 | 1.0952 | 0.42177 | 0.31265
4-HYDROXYCHLOROTHALONIL | 2437 | 68336LCM60 | 2015-08-11 | ng/L | 0.88435 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 147 | 4-HYDROXYCHLOROTHALONIL | . | 98 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88435 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0952 | 0.21088 | 1.0952 | 0.42177 | 0.31265
4-HYDROXYCHLOROTHALONIL | 2437 | 68336LCM60 | 2015-08-11 | ng/L | 1.0952 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 147 | 4-HYDROXYCHLOROTHALONIL | . | 98 | 161 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0952 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0952 | 0.21088 | 1.0952 | 0.42177 | 0.31265