## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-07-19 | ng/L | 0.93373 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 40.59 | ACEPHATE_(ORTHENE) | . | 10 | 37.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93373 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93373 |  | 0.93373 | 0 | 0
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-12-02 | ng/L | 0.74519 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 39.99 | ACEPHATE_(ORTHENE) | . | 10 | 29.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74519 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74519 |  | 0.74519 | 0 | 0
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-08-20 | ng/L | 0.55679 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 20.295 | ACEPHATE_(ORTHENE) | . | 10 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55679 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55679 |  | 0.55679 | 0 | 0
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-09-23 | ng/L | 0.64548 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 20.295 | ACEPHATE_(ORTHENE) | . | 10 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64548 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68572 | 0.038352 | 0.68983 | 0.076373 | 0.056615
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-11-18 | ng/L | 0.72185 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 40.59 | ACEPHATE_(ORTHENE) | . | 10 | 29.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72185 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68572 | 0.038352 | 0.68983 | 0.076373 | 0.056615
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-04-08 | ng/L | 0.68983 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 20.295 | ACEPHATE_(ORTHENE) | . | 10 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68983 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68572 | 0.038352 | 0.68983 | 0.076373 | 0.056615
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-12-16 | ng/L | 0.75519 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 39.99 | ACEPHATE_(ORTHENE) | . | 10 | 30.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75519 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75519 |  | 0.75519 | 0 | 0
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-04-15 | ng/L | 1.3203 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 19.995 | ACEPHATE_(ORTHENE) | E | 10 | 26.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3203 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3203 |  | 1.3203 | 0 | 0
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-05-17 | ng/L | 0.70518 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 19.995 | ACEPHATE_(ORTHENE) | . | 10 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70518 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89397 | 0.25308 | 0.7952 | 0.47637 | 0.35313
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-06-11 | ng/L | 1.1815 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 79.98 | ACEPHATE_(ORTHENE) | . | 10 | 94.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1815 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89397 | 0.25308 | 0.7952 | 0.47637 | 0.35313
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-06-26 | ng/L | 0.7952 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 39.99 | ACEPHATE_(ORTHENE) | E | 10 | 31.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7952 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.89397 | 0.25308 | 0.7952 | 0.47637 | 0.35313
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-07-31 | ng/L | 0.59621 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.295 | ACEPHATE_(ORTHENE) | . | 10 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59621 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61838 | 0.031357 | 0.61838 | 0.044346 | 0.032873
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-04-09 | ng/L | 0.64055 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.295 | ACEPHATE_(ORTHENE) | . | 10 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64055 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61838 | 0.031357 | 0.61838 | 0.044346 | 0.032873
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-08-17 | ng/L | 0.61015 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 19.995 | ACEPHATE_(ORTHENE) | . | 10 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61015 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69267 | 0.1167 | 0.69267 | 0.16504 | 0.12234
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-10-07 | ng/L | 0.77519 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 39.99 | ACEPHATE_(ORTHENE) | . | 10 | 31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77519 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69267 | 0.1167 | 0.69267 | 0.16504 | 0.12234
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-08-11 | ng/L | 0.74 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 15 | ACEPHATE_(ORTHENE) | . | 10 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76889 | 0.039063 | 0.75333 | 0.073333 | 0.054361
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-08-11 | ng/L | 0.75333 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 15 | ACEPHATE_(ORTHENE) | . | 10 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76889 | 0.039063 | 0.75333 | 0.073333 | 0.054361
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2015-08-11 | ng/L | 0.81333 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 15 | ACEPHATE_(ORTHENE) | . | 10 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76889 | 0.039063 | 0.75333 | 0.073333 | 0.054361
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-04-24 | ng/L | 0.74353 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 127.5 | ACEPHATE_(ORTHENE) | . | 10 | 94.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74353 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-05-03 | ng/L | 0.61275 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | ACEPHATE_(ORTHENE) | . | 10 | 125 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61275 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-05-29 | ng/L | 0.71765 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | ACEPHATE_(ORTHENE) | E | 10 | 183 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71765 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-06-05 | ng/L | 0.73137 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | ACEPHATE_(ORTHENE) | E | 10 | 373 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73137 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-06-18 | ng/L | 0.72549 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | ACEPHATE_(ORTHENE) | . | 10 | 185 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72549 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304
ACEPHATE (ORTHENE) | 2437 | 68519LCM60 | 2014-07-02 | ng/L | 0.61765 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | ACEPHATE_(ORTHENE) | . | 10 | 315 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61765 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.69141 | 0.059653 | 0.72157 | 0.11373 | 0.084304