## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-07-08 | ng/L | 0.88274 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 407.82 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 360 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88274 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88274 |  | 0.88274 | 0 | 0
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-12-03 | ng/L | 0.66696 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 407.82 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 272 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66696 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66696 |  | 0.66696 | 0 | 0
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-07-24 | ng/L | 1.1034 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 203.91 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 225 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1034 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93751 | 0.23629 | 1.0421 | 0.43647 | 0.32355
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-10-07 | ng/L | 0.66696 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 203.91 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66696 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93751 | 0.23629 | 1.0421 | 0.43647 | 0.32355
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-12-03 | ng/L | 1.0421 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 407.82 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 425 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0421 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93751 | 0.23629 | 1.0421 | 0.43647 | 0.32355
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-09-03 | ng/L | 0.34586 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 399 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34586 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.34586 |  | 0.34586 | 0 | 0
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-12 | ng/L | 1.5497 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 302 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 468 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5497 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3962 | 0.35833 | 1.5497 | 0.66556 | 0.49338
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-12 | ng/L | 0.98676 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 302 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 298 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98675 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3962 | 0.35833 | 1.5497 | 0.66556 | 0.49338
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-12 | ng/L | 1.6523 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 302 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 499 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6523 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3962 | 0.35833 | 1.5497 | 0.66556 | 0.49338
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-07-30 | ng/L | 0.62155 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 199.5 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62155 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.39697 | 0.90226 | 0.5614 | 0.41616
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-04-02 | ng/L | 1.183 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 199.5 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 236 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.183 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.39697 | 0.90226 | 0.5614 | 0.41616
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-10-07 | ng/L | 0.94236 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 399 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 376 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94236 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94236 |  | 0.94236 | 0 | 0
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-03 | ng/L | 1.0154 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 149.7 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 152 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0154 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0154 |  | 1.0154 | 0 | 0
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-11 | ng/L | 1.9801 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 151 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9801 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.9007 | 0.15517 | 1.9801 | 0.27815 | 0.20619
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-11 | ng/L | 2.0662 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 151 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 312 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.9007 | 0.15517 | 1.9801 | 0.27815 | 0.20619 | 2
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2015-08-11 | ng/L | 1.7219 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 151 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 260 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7219 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.9007 | 0.15517 | 1.9801 | 0.27815 | 0.20619
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-04-21 | ng/L | 1.4733 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 126.25 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4733 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-05-01 | ng/L | 0.85149 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 202 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 172 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85149 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-05-28 | ng/L | 0.89901 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 227 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89901 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-06-04 | ng/L | 0.9703 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 490 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9703 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-06-17 | ng/L | 0.58614 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 148 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58614 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624
ACETOCHLOR SULFONIC ACID | 2437 | 68523LCM60 | 2014-07-02 | ng/L | 1.0218 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | ACETOCHLOR_SULFONIC_ACID | . | 100 | 516 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0218 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.967 | 0.29063 | 0.93465 | 0.1703 | 0.12624