## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALACHLOR OA | 2437 | 68526LCM60 | 2014-07-08 | ng/L | 0.89473 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 871.77 | ALACHLOR_OA | . | 84 | 780 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89473 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89473 |  | 0.89473 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-08-11 | ng/L | 1.3186 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 165.33 | ALACHLOR_OA | . | 84 | 218 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3186 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3186 |  | 1.3186 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-07-19 | ng/L | 1.0405 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 541.11 | ALACHLOR_OA | . | 84 | 563 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0405 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0405 |  | 1.0405 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-12-03 | ng/L | 0.77064 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 541.11 | ALACHLOR_OA | . | 84 | 417 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77064 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77064 |  | 0.77064 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-08-19 | ng/L | 1.0645 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 165.33 | ALACHLOR_OA | . | 84 | 176 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0645 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0645 |  | 1.0645 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-09-23 | ng/L | 1.1054 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 168.27 | ALACHLOR_OA | . | 84 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1054 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4045 | 0.31616 | 1.3728 | 0.62994 | 0.46697
ALACHLOR OA | 2437 | 68526LCM60 | 2014-11-18 | ng/L | 1.3728 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 336.54 | ALACHLOR_OA | . | 84 | 462 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3728 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4045 | 0.31616 | 1.3728 | 0.62994 | 0.46697
ALACHLOR OA | 2437 | 68526LCM60 | 2015-04-07 | ng/L | 1.7353 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 168.27 | ALACHLOR_OA | . | 84 | 292 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7353 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4045 | 0.31616 | 1.3728 | 0.62994 | 0.46697
ALACHLOR OA | 2437 | 68526LCM60 | 2014-12-16 | ng/L | 0.99498 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 330.66 | ALACHLOR_OA | . | 84 | 329 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99498 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99498 |  | 0.99498 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2015-04-15 | ng/L | 1.1901 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 270.555 | ALACHLOR_OA | . | 84 | 322 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1901 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1901 |  | 1.1901 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2014-05-21 | ng/L | 1.0757 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 168.27 | ALACHLOR_OA | E | 84 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0757 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2193 | 0.13982 | 1.2272 | 0.27931 | 0.20705
ALACHLOR OA | 2437 | 68526LCM60 | 2014-06-10 | ng/L | 1.2272 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 673.08 | ALACHLOR_OA | . | 84 | 826 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2272 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2193 | 0.13982 | 1.2272 | 0.27931 | 0.20705
ALACHLOR OA | 2437 | 68526LCM60 | 2014-06-25 | ng/L | 1.355 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 336.54 | ALACHLOR_OA | . | 84 | 456 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.355 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2193 | 0.13982 | 1.2272 | 0.27931 | 0.20705
ALACHLOR OA | 2437 | 68526LCM60 | 2014-07-24 | ng/L | 1.1189 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 438.825 | ALACHLOR_OA | E | 84 | 491 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1189 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0407 | 0.086365 | 1.0551 | 0.17091 | 0.12669
ALACHLOR OA | 2437 | 68526LCM60 | 2014-10-07 | ng/L | 1.0551 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 438.825 | ALACHLOR_OA | . | 84 | 463 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0551 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0407 | 0.086365 | 1.0551 | 0.17091 | 0.12669
ALACHLOR OA | 2437 | 68526LCM60 | 2014-12-03 | ng/L | 0.94799 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 877.65 | ALACHLOR_OA | . | 84 | 832 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94799 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0407 | 0.086365 | 1.0551 | 0.17091 | 0.12669
ALACHLOR OA | 2437 | 68526LCM60 | 2014-09-03 | ng/L | 0.7072 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 336.54 | ALACHLOR_OA | . | 84 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7072 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90628 | 0.28155 | 0.90628 | 0.39817 | 0.29516
ALACHLOR OA | 2437 | 68526LCM60 | 2014-09-10 | ng/L | 1.1054 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 168.27 | ALACHLOR_OA | . | 84 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1054 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90628 | 0.28155 | 0.90628 | 0.39817 | 0.29516
ALACHLOR OA | 2437 | 68526LCM60 | 2015-08-03 | ng/L | 0.80315 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 127 | ALACHLOR_OA | . | 84 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80315 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80315 |  | 0.80315 | 0 | 0
ALACHLOR OA | 2437 | 68526LCM60 | 2015-08-11 | ng/L | 1.133 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 203 | ALACHLOR_OA | . | 84 | 230 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.133 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1396 | 0.083937 | 1.133 | 0.16749 | 0.12416
ALACHLOR OA | 2437 | 68526LCM60 | 2015-08-11 | ng/L | 1.2266 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 203 | ALACHLOR_OA | . | 84 | 249 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2266 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1396 | 0.083937 | 1.133 | 0.16749 | 0.12416
ALACHLOR OA | 2437 | 68526LCM60 | 2015-08-11 | ng/L | 1.0591 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 203 | ALACHLOR_OA | . | 84 | 215 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0591 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1396 | 0.083937 | 1.133 | 0.16749 | 0.12416
ALACHLOR OA | 2437 | 68526LCM60 | 2014-05-01 | ng/L | 0.73529 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | ALACHLOR_OA | . | 84 | 150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73529 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0063 | 0.17675 | 1.0196 | 0.10588 | 0.07849
ALACHLOR OA | 2437 | 68526LCM60 | 2014-05-28 | ng/L | 0.97647 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | ALACHLOR_OA | . | 84 | 249 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97647 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0063 | 0.17675 | 1.0196 | 0.10588 | 0.07849
ALACHLOR OA | 2437 | 68526LCM60 | 2014-06-04 | ng/L | 1.2176 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | ALACHLOR_OA | . | 84 | 621 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2176 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0063 | 0.17675 | 1.0196 | 0.10588 | 0.07849
ALACHLOR OA | 2437 | 68526LCM60 | 2014-06-17 | ng/L | 1.0824 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | ALACHLOR_OA | . | 84 | 276 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0063 | 0.17675 | 1.0196 | 0.10588 | 0.07849
ALACHLOR OA | 2437 | 68526LCM60 | 2014-07-02 | ng/L | 1.0196 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | ALACHLOR_OA | . | 84 | 520 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0196 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0063 | 0.17675 | 1.0196 | 0.10588 | 0.07849