## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-07-08 | ng/L | 0.70914 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 799.5599 | ALACHLOR_SULFONIC_ACID | E | 200 | 567 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70914 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.70914 |  | 0.70914 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-08-11 | ng/L | 0.55388 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 399 | ALACHLOR_SULFONIC_ACID | E | 200 | 221 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55388 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.55388 |  | 0.55388 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-07-19 | ng/L | 0.83921 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 799.5599 | ALACHLOR_SULFONIC_ACID | E | 200 | 671 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83921 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.83921 |  | 0.83921 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-12-03 | ng/L | 0.49152 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 799.5599 | ALACHLOR_SULFONIC_ACID | E | 200 | 393 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49152 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.49152 |  | 0.49152 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-07-24 | ng/L | 0.95052 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 399.78 | ALACHLOR_SULFONIC_ACID | E | 200 | 380 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95052 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.94093 | 0.14719 | 0.95052 | 0.29391 | 0.21787
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-10-07 | ng/L | 1.0831 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 399.78 | ALACHLOR_SULFONIC_ACID | E | 200 | 433 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0831 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.94093 | 0.14719 | 0.95052 | 0.29391 | 0.21787
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-12-03 | ng/L | 0.78918 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 799.5599 | ALACHLOR_SULFONIC_ACID | E | 200 | 631 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78918 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.94093 | 0.14719 | 0.95052 | 0.29391 | 0.21787
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-09-03 | ng/L | 0.44862 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 798 | ALACHLOR_SULFONIC_ACID | E | 200 | 358 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44862 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.44862 |  | 0.44862 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-12 | ng/L | 0.92715 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 604 | ALACHLOR_SULFONIC_ACID | E | 200 | 560 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92715 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.93322 | 0.12015 | 0.92715 | 0.24007 | 0.17796
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-12 | ng/L | 1.0563 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 604 | ALACHLOR_SULFONIC_ACID | E | 200 | 638 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0563 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.93322 | 0.12015 | 0.92715 | 0.24007 | 0.17796
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-12 | ng/L | 0.81623 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 604 | ALACHLOR_SULFONIC_ACID | E | 200 | 493 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81623 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.93322 | 0.12015 | 0.92715 | 0.24007 | 0.17796
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-07-30 | ng/L | 0.73935 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 399 | ALACHLOR_SULFONIC_ACID | E | 200 | 295 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73935 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.73935 |  | 0.73935 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-08-13 | ng/L | 1.3409 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 399 | ALACHLOR_SULFONIC_ACID | E | 200 | 535 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3409 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.91165 | 0.60698 | 0.91165 | 0.8584 | 0.63632
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-10-07 | ng/L | 0.48246 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 798 | ALACHLOR_SULFONIC_ACID | E | 200 | 385 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48246 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.91165 | 0.60698 | 0.91165 | 0.8584 | 0.63632
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-03 | ng/L | 0.71405 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 299.7 | ALACHLOR_SULFONIC_ACID | E | 200 | 214 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71405 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.71405 |  | 0.71405 | 0 | 0
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-11 | ng/L | 0.65563 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 302 | ALACHLOR_SULFONIC_ACID | E | 200 | 198 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65563 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75276 | 0.096046 | 0.75497 | 0.19205 | 0.14237
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-11 | ng/L | 0.84768 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 302 | ALACHLOR_SULFONIC_ACID | E | 200 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84768 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75276 | 0.096046 | 0.75497 | 0.19205 | 0.14237
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2015-08-11 | ng/L | 0.75497 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 302 | ALACHLOR_SULFONIC_ACID | E | 200 | 228 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75497 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75276 | 0.096046 | 0.75497 | 0.19205 | 0.14237
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-05-01 | ng/L | 0.667 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 199.4 | ALACHLOR_SULFONIC_ACID | E | 200 | 133 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.667 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 1 |  |  |  |  | Y | 3 | 0.74925 | 0.078125 | 0.75827 | 0.15547 | 0.11525
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-06-04 | ng/L | 0.75827 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 498.5 | ALACHLOR_SULFONIC_ACID | E | 200 | 378 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75827 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.74925 | 0.078125 | 0.75827 | 0.15547 | 0.11525
ALACHLOR SULFONIC ACID | 2437 | 68871LCM60 | 2014-06-17 | ng/L | 0.82247 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 249.25 | ALACHLOR_SULFONIC_ACID | E | 200 | 205 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82247 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.74925 | 0.078125 | 0.75827 | 0.15547 | 0.11525