## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-07-08 | ng/L | 0.68779 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 79.53 | ALDICARB_SULFONE | . | 20 | 54.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68779 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68779 |  | 0.68779 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-08-16 | ng/L | 0.86257 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 39.765 | ALDICARB_SULFONE | . | 20 | 34.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86257 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86257 |  | 0.86257 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-08-20 | ng/L | 0.68402 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 39.765 | ALDICARB_SULFONE | . | 20 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68402 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68402 |  | 0.68402 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-09-23 | ng/L | 0.92558 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 39.975 | ALDICARB_SULFONE | . | 20 | 37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92558 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98687 | 0.17164 | 0.92558 | 0.32645 | 0.242
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-11-18 | ng/L | 0.85428 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 79.95 | ALDICARB_SULFONE | . | 20 | 68.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85428 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98687 | 0.17164 | 0.92558 | 0.32645 | 0.242
ALDICARB SULFONE | 2437 | 68529LCM60 | 2015-04-08 | ng/L | 1.1807 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 39.975 | ALDICARB_SULFONE | . | 20 | 47.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1807 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98687 | 0.17164 | 0.92558 | 0.32645 | 0.242
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-12-16 | ng/L | 1.2951 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 79.53 | ALDICARB_SULFONE | E | 20 | 103 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2951 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2951 |  | 1.2951 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-05-17 | ng/L | 0.78299 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 39.975 | ALDICARB_SULFONE | . | 20 | 31.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78299 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98395 | 0.21579 | 0.95685 | 0.42902 | 0.31803
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-06-11 | ng/L | 0.95685 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 159.9 | ALDICARB_SULFONE | E | 20 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95685 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.98395 | 0.21579 | 0.95685 | 0.42902 | 0.31803
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-06-26 | ng/L | 1.212 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 79.95 | ALDICARB_SULFONE | . | 20 | 96.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.212 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98395 | 0.21579 | 0.95685 | 0.42902 | 0.31803
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-07-24 | ng/L | 0.91307 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 39.975 | ALDICARB_SULFONE | E | 20 | 36.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91307 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9802 | 0.15109 | 0.91307 | 0.27892 | 0.20676
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-10-07 | ng/L | 1.1532 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 39.975 | ALDICARB_SULFONE | . | 20 | 46.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1532 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9802 | 0.15109 | 0.91307 | 0.27892 | 0.20676
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-12-02 | ng/L | 0.8743 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 79.95 | ALDICARB_SULFONE | . | 20 | 69.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8743 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9802 | 0.15109 | 0.91307 | 0.27892 | 0.20676
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-09-04 | ng/L | 0.78799 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 79.95 | ALDICARB_SULFONE | . | 20 | 63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78799 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81801 | 0.042453 | 0.81801 | 0.060038 | 0.044505
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-09-10 | ng/L | 0.84803 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 39.975 | ALDICARB_SULFONE | . | 20 | 33.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84803 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81801 | 0.042453 | 0.81801 | 0.060038 | 0.044505
ALDICARB SULFONE | 2437 | 68529LCM60 | 2015-08-11 | ng/L | 0.78 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30 | ALDICARB_SULFONE | . | 20 | 23.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82 | 0.063596 | 0.78667 | 0.11333 | 0.084013
ALDICARB SULFONE | 2437 | 68529LCM60 | 2015-08-11 | ng/L | 0.89333 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30 | ALDICARB_SULFONE | . | 20 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82 | 0.063596 | 0.78667 | 0.11333 | 0.084013
ALDICARB SULFONE | 2437 | 68529LCM60 | 2015-08-11 | ng/L | 0.78667 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30 | ALDICARB_SULFONE | . | 20 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82 | 0.063596 | 0.78667 | 0.11333 | 0.084013
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-02-06 | ng/L | 0.87867 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 750 | ALDICARB_SULFONE | . | 20 | 659 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87867 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87867 |  | 0.87867 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2013-10-31 | ng/L | 0.79333 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 750 | ALDICARB_SULFONE | . | 20 | 595 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79333 |  | 0.79333 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2014-03-04 | ng/L | 0.72667 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 750 | ALDICARB_SULFONE | . | 20 | 545 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72667 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72667 |  | 0.72667 | 0 | 0
ALDICARB SULFONE | 2437 | 68529LCM60 | 2013-11-21 | ng/L | 0.96667 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 750 | ALDICARB_SULFONE | . | 20 | 725 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0