## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AMETRYN | 2437 | 68533LCM60 | 2014-07-08 | ng/L | 0.85619 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12.03 | AMETRYN | . | 3 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85619 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85619 |  | 0.85619 | 0 | 0
AMETRYN | 2437 | 68533LCM60 | 2014-08-16 | ng/L | 0.7847 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.015 | AMETRYN | E | 3 | 4.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7847 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7847 |  | 0.7847 | 0 | 0
AMETRYN | 2437 | 68533LCM60 | 2014-09-23 | ng/L | 0.89053 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6.075 | AMETRYN | . | 3 | 5.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89053 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79424 | 0.089212 | 0.77778 | 0.17613 | 0.13056
AMETRYN | 2437 | 68533LCM60 | 2014-11-18 | ng/L | 0.77778 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12.15 | AMETRYN | . | 3 | 9.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79424 | 0.089212 | 0.77778 | 0.17613 | 0.13056
AMETRYN | 2437 | 68533LCM60 | 2015-04-08 | ng/L | 0.7144 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6.075 | AMETRYN | . | 3 | 4.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7144 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79424 | 0.089212 | 0.77778 | 0.17613 | 0.13056
AMETRYN | 2437 | 68533LCM60 | 2014-12-16 | ng/L | 0.89776 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 12.03 | AMETRYN | . | 3 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89776 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89776 |  | 0.89776 | 0 | 0
AMETRYN | 2437 | 68533LCM60 | 2014-06-11 | ng/L | 0.82716 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 24.3 | AMETRYN | E | 3 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82716 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82346 | 0.0052378 | 0.82346 | 0.0074074 | 0.005491
AMETRYN | 2437 | 68533LCM60 | 2014-06-26 | ng/L | 0.81975 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 12.15 | AMETRYN | . | 3 | 9.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81975 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82346 | 0.0052378 | 0.82346 | 0.0074074 | 0.005491
AMETRYN | 2437 | 68533LCM60 | 2014-07-24 | ng/L | 0.79671 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.075 | AMETRYN | . | 3 | 4.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79671 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79726 | 0.012355 | 0.79671 | 0.024691 | 0.018303
AMETRYN | 2437 | 68533LCM60 | 2014-10-07 | ng/L | 0.80988 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.075 | AMETRYN | . | 3 | 4.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80988 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79726 | 0.012355 | 0.79671 | 0.024691 | 0.018303
AMETRYN | 2437 | 68533LCM60 | 2014-12-02 | ng/L | 0.78519 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12.15 | AMETRYN | . | 3 | 9.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78519 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79726 | 0.012355 | 0.79671 | 0.024691 | 0.018303
AMETRYN | 2437 | 68533LCM60 | 2014-09-04 | ng/L | 0.7893 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.15 | AMETRYN | E | 3 | 9.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7893 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82593 | 0.051796 | 0.82593 | 0.073251 | 0.0543
AMETRYN | 2437 | 68533LCM60 | 2014-09-10 | ng/L | 0.86255 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.075 | AMETRYN | E | 3 | 5.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86255 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82593 | 0.051796 | 0.82593 | 0.073251 | 0.0543
AMETRYN | 2437 | 68533LCM60 | 2015-08-11 | ng/L | 1.1593 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.52 | AMETRYN | . | 3 | 5.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1593 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1283 | 0.043803 | 1.1283 | 0.061947 | 0.045921
AMETRYN | 2437 | 68533LCM60 | 2015-08-11 | ng/L | 1.0973 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.52 | AMETRYN | . | 3 | 4.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0973 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1283 | 0.043803 | 1.1283 | 0.061947 | 0.045921
AMETRYN | 2437 | 68533LCM60 | 2014-04-24 | ng/L | 0.83107 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 128.75 | AMETRYN | E | 3 | 107 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83107 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523
AMETRYN | 2437 | 68533LCM60 | 2014-05-03 | ng/L | 0.66505 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 206 | AMETRYN | . | 3 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66505 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523
AMETRYN | 2437 | 68533LCM60 | 2014-05-29 | ng/L | 0.92816 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 257.5 | AMETRYN | . | 3 | 239 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92816 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523
AMETRYN | 2437 | 68533LCM60 | 2014-06-05 | ng/L | 0.72621 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 515 | AMETRYN | . | 3 | 374 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72621 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523
AMETRYN | 2437 | 68533LCM60 | 2014-06-18 | ng/L | 0.82718 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 257.5 | AMETRYN | . | 3 | 213 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82718 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523
AMETRYN | 2437 | 68533LCM60 | 2014-07-02 | ng/L | 0.89515 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 515 | AMETRYN | . | 3 | 461 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89515 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81214 | 0.099953 | 0.82913 | 0.16893 | 0.12523