## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ASULAM | 2437 | 68536LCM60 | 2014-07-08 | ng/L | 0.87883 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 112.65 | ASULAM | E | 28 | 99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87883 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.87883 |  | 0.87883 | 0 | 0
ASULAM | 2437 | 68536LCM60 | 2014-08-16 | ng/L | 1.0954 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 56.325 | ASULAM | E | 28 | 61.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0954 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0954 |  | 1.0954 | 0 | 0
ASULAM | 2437 | 68536LCM60 | 2014-08-20 | ng/L | 1.0102 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 56.325 | ASULAM | E | 28 | 56.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0102 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0102 |  | 1.0102 | 0 | 0
ASULAM | 2437 | 68536LCM60 | 2014-09-23 | ng/L | 0.85282 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 55.815 | ASULAM | E | 28 | 47.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85282 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.91911 | 0.093749 | 0.91911 | 0.13258 | 0.098281
ASULAM | 2437 | 68536LCM60 | 2014-11-18 | ng/L | 0.9854 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 111.63 | ASULAM | E | 28 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9854 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.91911 | 0.093749 | 0.91911 | 0.13258 | 0.098281
ASULAM | 2437 | 68536LCM60 | 2014-12-16 | ng/L | 1.4647 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 112.65 | ASULAM | E | 28 | 165 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4647 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.4647 |  | 1.4647 | 0 | 0
ASULAM | 2437 | 68536LCM60 | 2014-05-17 | ng/L | 1.4154 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 55.815 | ASULAM | E | 28 | 79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4154 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3631 | 0.27032 | 1.4154 | 0.53301 | 0.39512
ASULAM | 2437 | 68536LCM60 | 2014-06-11 | ng/L | 1.0705 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 223.26 | ASULAM | E | 28 | 239 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0705 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3631 | 0.27032 | 1.4154 | 0.53301 | 0.39512
ASULAM | 2437 | 68536LCM60 | 2014-06-26 | ng/L | 1.6035 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 111.63 | ASULAM | E | 28 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6035 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3631 | 0.27032 | 1.4154 | 0.53301 | 0.39512
ASULAM | 2437 | 68536LCM60 | 2014-07-24 | ng/L | 1.3849 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 55.815 | ASULAM | E | 28 | 77.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3849 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.1852 | 0.28251 | 1.1852 | 0.39953 | 0.29617
ASULAM | 2437 | 68536LCM60 | 2014-12-02 | ng/L | 0.9854 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 111.63 | ASULAM | E | 28 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9854 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.1852 | 0.28251 | 1.1852 | 0.39953 | 0.29617
ASULAM | 2437 | 68536LCM60 | 2014-09-04 | ng/L | 0.72561 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 111.63 | ASULAM | E | 28 | 81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72561 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.65574 | 0.098816 | 0.65574 | 0.13975 | 0.10359
ASULAM | 2437 | 68536LCM60 | 2014-09-10 | ng/L | 0.58586 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 55.815 | ASULAM | E | 28 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58586 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.65574 | 0.098816 | 0.65574 | 0.13975 | 0.10359
ASULAM | 2437 | 68536LCM60 | 2015-08-12 | ng/L | 1.6587 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 83.8 | ASULAM | E | 28 | 139 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6587 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.8258 | 0.23626 | 1.8258 | 0.33413 | 0.24769
ASULAM | 2437 | 68536LCM60 | 2015-08-12 | ng/L | 1.9928 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 83.8 | ASULAM | E | 28 | 167 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9928 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.8258 | 0.23626 | 1.8258 | 0.33413 | 0.24769
ASULAM | 2437 | 68536LCM60 | 2015-08-04 | ng/L | 1.223 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 41.7 | ASULAM | E | 28 | 51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.223 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.223 |  | 1.223 | 0 | 0
ASULAM | 2437 | 68536LCM60 | 2015-08-11 | ng/L | 1.2291 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 41.9 | ASULAM | E | 28 | 51.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2291 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2872 | 0.10059 | 1.2291 | 0.17422 | 0.12915
ASULAM | 2437 | 68536LCM60 | 2015-08-11 | ng/L | 1.2291 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 41.9 | ASULAM | E | 28 | 51.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2291 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2872 | 0.10059 | 1.2291 | 0.17422 | 0.12915
ASULAM | 2437 | 68536LCM60 | 2015-08-11 | ng/L | 1.4033 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 41.9 | ASULAM | E | 28 | 58.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4033 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2872 | 0.10059 | 1.2291 | 0.17422 | 0.12915