## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 2437 | 65065LCM60 | 2013-12-10 | ng/L | 0.90656 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 5030 | ATRAZINE | . | 5 | 4560 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90656 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90656 |  | 0.90656 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-01-23 | ng/L | 0.92 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 250 | ATRAZINE | . | 5 | 230 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92 |  | 0.92 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-07-19 | ng/L | 1.2239 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 20.1 | ATRAZINE | . | 5 | 24.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2239 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2239 |  | 1.2239 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-12-02 | ng/L | 0.9389 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 20.13 | ATRAZINE | . | 5 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9389 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9389 |  | 0.9389 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-08-20 | ng/L | 0.86368 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 10.05 | ATRAZINE | . | 5 | 8.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86368 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86368 |  | 0.86368 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-09-23 | ng/L | 1.0249 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.05 | ATRAZINE | . | 5 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0249 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.063 | 0.035297 | 1.0697 | 0.069652 | 0.051632
ATRAZINE | 2437 | 65065LCM60 | 2014-11-18 | ng/L | 1.0697 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 20.1 | ATRAZINE | . | 5 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.063 | 0.035297 | 1.0697 | 0.069652 | 0.051632
ATRAZINE | 2437 | 65065LCM60 | 2015-04-08 | ng/L | 1.0945 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.05 | ATRAZINE | . | 5 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.063 | 0.035297 | 1.0697 | 0.069652 | 0.051632
ATRAZINE | 2437 | 65065LCM60 | 2013-09-29 | ng/L | 0.95229 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 5030 | ATRAZINE | . | 5 | 4790 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95229 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95229 |  | 0.95229 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2013-12-19 | ng/L | 1.1036 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 622.5 | ATRAZINE | . | 5 | 687 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1036 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1036 |  | 1.1036 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-12-16 | ng/L | 1.0084 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 20.13 | ATRAZINE | . | 5 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0084 |  | 1.0084 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2015-04-15 | ng/L | 1.2916 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 10.065 | ATRAZINE | . | 5 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2916 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2916 |  | 1.2916 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-05-17 | ng/L | 0.67561 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 10.065 | ATRAZINE | . | 5 | 6.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67561 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92151 | 0.21325 | 1.0333 | 0.38003 | 0.28171
ATRAZINE | 2437 | 65065LCM60 | 2014-06-11 | ng/L | 1.0556 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 40.26 | ATRAZINE | E | 5 | 42.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.92151 | 0.21325 | 1.0333 | 0.38003 | 0.28171
ATRAZINE | 2437 | 65065LCM60 | 2014-06-26 | ng/L | 1.0333 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 20.13 | ATRAZINE | . | 5 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92151 | 0.21325 | 1.0333 | 0.38003 | 0.28171
ATRAZINE | 2437 | 65065LCM60 | 2014-01-10 | ng/L | 0.964 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 250 | ATRAZINE | . | 5 | 241 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.964 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.964 |  | 0.964 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-07-31 | ng/L | 0.93134 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 10.05 | ATRAZINE | . | 5 | 9.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93134 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93483 | 0.0049251 | 0.93483 | 0.0069652 | 0.0051632
ATRAZINE | 2437 | 65065LCM60 | 2015-04-09 | ng/L | 0.93831 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 10.05 | ATRAZINE | . | 5 | 9.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93831 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93483 | 0.0049251 | 0.93483 | 0.0069652 | 0.0051632
ATRAZINE | 2437 | 65065LCM60 | 2014-08-17 | ng/L | 1.0333 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 10.065 | ATRAZINE | E | 5 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.93145 | 0.14402 | 0.93145 | 0.20368 | 0.15098
ATRAZINE | 2437 | 65065LCM60 | 2014-10-07 | ng/L | 0.82961 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 20.13 | ATRAZINE | . | 5 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82961 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93145 | 0.14402 | 0.93145 | 0.20368 | 0.15098
ATRAZINE | 2437 | 65065LCM60 | 2015-08-11 | ng/L | 1.0676 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.54 | ATRAZINE | . | 5 | 8.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0676 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9863 | 0.07145 | 0.95756 | 0.13395 | 0.099297
ATRAZINE | 2437 | 65065LCM60 | 2015-08-11 | ng/L | 0.95756 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.54 | ATRAZINE | . | 5 | 7.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95756 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9863 | 0.07145 | 0.95756 | 0.13395 | 0.099297
ATRAZINE | 2437 | 65065LCM60 | 2015-08-11 | ng/L | 0.93369 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.54 | ATRAZINE | . | 5 | 7.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93369 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9863 | 0.07145 | 0.95756 | 0.13395 | 0.099297
ATRAZINE | 2437 | 65065LCM60 | 2014-02-06 | ng/L | 0.86 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 1500 | ATRAZINE | . | 5 | 1290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86 |  | 0.86 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2013-10-31 | ng/L | 0.93333 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 1500 | ATRAZINE | . | 5 | 1400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93333 |  | 0.93333 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-03-04 | ng/L | 0.8 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 1500 | ATRAZINE | . | 5 | 1200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2014-02-19 | ng/L | 0.8864 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 625 | ATRAZINE | . | 5 | 554 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8864 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8864 |  | 0.8864 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2013-11-07 | ng/L | 0.896 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 250 | ATRAZINE | E | 5 | 224 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.896 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.896 |  | 0.896 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2013-12-18 | ng/L | 1.0664 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 4970 | ATRAZINE | . | 5 | 5300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0664 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0664 |  | 1.0664 | 0 | 0
ATRAZINE | 2437 | 65065LCM60 | 2013-11-21 | ng/L | 1.1133 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 1500 | ATRAZINE | . | 5 | 1670 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1133 |  | 1.1133 | 0 | 0