## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-07-19 | ng/L | 0.91438 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12.03 | AZOXYSTROBIN | . | 3 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91438 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91438 |  | 0.91438 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-12-02 | ng/L | 0.76775 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 11.97 | AZOXYSTROBIN | . | 3 | 9.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76775 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76775 |  | 0.76775 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-08-20 | ng/L | 0.79302 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 6.015 | AZOXYSTROBIN | . | 3 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79302 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79302 |  | 0.79302 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-09-23 | ng/L | 0.83458 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6.015 | AZOXYSTROBIN | . | 3 | 5.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83458 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82516 | 0.077736 | 0.83458 | 0.15461 | 0.11461
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-11-18 | ng/L | 0.89776 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12.03 | AZOXYSTROBIN | . | 3 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89776 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82516 | 0.077736 | 0.83458 | 0.15461 | 0.11461
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-04-08 | ng/L | 0.74314 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6.015 | AZOXYSTROBIN | . | 3 | 4.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74314 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82516 | 0.077736 | 0.83458 | 0.15461 | 0.11461
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-12-16 | ng/L | 0.79532 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 11.97 | AZOXYSTROBIN | . | 3 | 9.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79532 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79532 |  | 0.79532 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-04-15 | ng/L | 0.79031 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 5.985 | AZOXYSTROBIN | . | 3 | 4.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79031 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79031 |  | 0.79031 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-05-17 | ng/L | 0.73517 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 5.985 | AZOXYSTROBIN | . | 3 | 4.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73517 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8215 | 0.087752 | 0.81871 | 0.17544 | 0.13005
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-06-11 | ng/L | 0.81871 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 23.94 | AZOXYSTROBIN | E | 3 | 19.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81871 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8215 | 0.087752 | 0.81871 | 0.17544 | 0.13005
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-06-26 | ng/L | 0.91061 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 11.97 | AZOXYSTROBIN | . | 3 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91061 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8215 | 0.087752 | 0.81871 | 0.17544 | 0.13005
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-07-15 | ng/L | 0.75326 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9.2 | AZOXYSTROBIN | . | 3 | 6.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75326 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75326 |  | 0.75326 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-08-12 | ng/L | 0.99239 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9.2 | AZOXYSTROBIN | . | 3 | 9.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99239 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90761 | 0.083717 | 0.90543 | 0.16739 | 0.12409
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-08-12 | ng/L | 0.90543 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9.2 | AZOXYSTROBIN | . | 3 | 8.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90543 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90761 | 0.083717 | 0.90543 | 0.16739 | 0.12409
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-08-12 | ng/L | 0.825 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9.2 | AZOXYSTROBIN | . | 3 | 7.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90761 | 0.083717 | 0.90543 | 0.16739 | 0.12409
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-07-31 | ng/L | 0.5852 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.015 | AZOXYSTROBIN | . | 3 | 3.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5852 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6409 | 0.078763 | 0.6409 | 0.11139 | 0.082571
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-04-09 | ng/L | 0.69659 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.015 | AZOXYSTROBIN | . | 3 | 4.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69659 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6409 | 0.078763 | 0.6409 | 0.11139 | 0.082571
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-08-17 | ng/L | 0.70844 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 5.985 | AZOXYSTROBIN | . | 3 | 4.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70844 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74603 | 0.053166 | 0.74603 | 0.075188 | 0.055736
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-10-07 | ng/L | 0.78363 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 11.97 | AZOXYSTROBIN | . | 3 | 9.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78363 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74603 | 0.053166 | 0.74603 | 0.075188 | 0.055736
AZOXYSTROBIN | 2437 | 66589LCM60 | 2015-08-04 | ng/L | 1.1704 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 4.52 | AZOXYSTROBIN | . | 3 | 5.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1704 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1704 |  | 1.1704 | 0 | 0
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-04-24 | ng/L | 0.81288 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 124.25 | AZOXYSTROBIN | . | 3 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81288 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-05-03 | ng/L | 0.68913 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 198.8 | AZOXYSTROBIN | . | 3 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68913 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-05-29 | ng/L | 0.82093 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 248.5 | AZOXYSTROBIN | . | 3 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82093 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-06-05 | ng/L | 0.75855 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 497 | AZOXYSTROBIN | . | 3 | 377 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75855 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-06-18 | ng/L | 0.82093 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 248.5 | AZOXYSTROBIN | . | 3 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82093 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237
AZOXYSTROBIN | 2437 | 66589LCM60 | 2014-07-02 | ng/L | 0.82897 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 497 | AZOXYSTROBIN | . | 3 | 412 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82897 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.78856 | 0.054965 | 0.8169 | 0.062374 | 0.046237