## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIFENTHRIN | 2437 | 65067LCM60 | 2014-07-19 | ng/L | 0.19561 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 75.15 | BIFENTHRIN | E | 19 | 14.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19561 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.19561 |  | 0.19561 | 0 | 0
BIFENTHRIN | 2437 | 65067LCM60 | 2014-12-02 | ng/L | 0.2815 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 76.02 | BIFENTHRIN | E | 19 | 21.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2815 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.2815 |  | 0.2815 | 0 | 0
BIFENTHRIN | 2437 | 65067LCM60 | 2014-08-20 | ng/L | 0.15303 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 37.575 | BIFENTHRIN | E | 19 | 5.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15303 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.15303 |  | 0.15303 | 0 | 0
BIFENTHRIN | 2437 | 65067LCM60 | 2014-09-23 | ng/L | 0.21929 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 37.575 | BIFENTHRIN | E | 19 | 8.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21929 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.29976 | 0.075326 | 0.31138 | 0.1493 | 0.11068
BIFENTHRIN | 2437 | 65067LCM60 | 2014-11-18 | ng/L | 0.3686 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 75.15 | BIFENTHRIN | E | 19 | 27.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3686 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.29976 | 0.075326 | 0.31138 | 0.1493 | 0.11068
BIFENTHRIN | 2437 | 65067LCM60 | 2015-04-08 | ng/L | 0.31138 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 37.575 | BIFENTHRIN | E | 19 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31138 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.29976 | 0.075326 | 0.31138 | 0.1493 | 0.11068
BIFENTHRIN | 2437 | 65067LCM60 | 2014-12-16 | ng/L | 0.57353 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 76.02 | BIFENTHRIN | E | 19 | 43.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57353 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.57353 |  | 0.57353 | 0 | 0
BIFENTHRIN | 2437 | 65067LCM60 | 2014-05-17 | ng/L | 0.14549 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 38.01 | BIFENTHRIN | E | 19 | 5.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14549 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.25086 | 0.12305 | 0.22099 | 0.24059 | 0.17835
BIFENTHRIN | 2437 | 65067LCM60 | 2014-06-11 | ng/L | 0.38608 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 152.04 | BIFENTHRIN | E | 19 | 58.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38608 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.25086 | 0.12305 | 0.22099 | 0.24059 | 0.17835
BIFENTHRIN | 2437 | 65067LCM60 | 2014-06-26 | ng/L | 0.22099 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 76.02 | BIFENTHRIN | E | 19 | 16.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22099 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.25086 | 0.12305 | 0.22099 | 0.24059 | 0.17835
BIFENTHRIN | 2437 | 65067LCM60 | 2015-07-15 | ng/L | 0.33045 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 57.8 | BIFENTHRIN | E | 19 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33045 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.33045 |  | 0.33045 | 0 | 0
BIFENTHRIN | 2437 | 65067LCM60 | 2015-08-12 | ng/L | 0.21453 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 57.8 | BIFENTHRIN | E | 19 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21453 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.27047 | 0.050153 | 0.28547 | 0.096886 | 0.07182
BIFENTHRIN | 2437 | 65067LCM60 | 2015-08-12 | ng/L | 0.31142 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 57.8 | BIFENTHRIN | E | 19 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31142 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.27047 | 0.050153 | 0.28547 | 0.096886 | 0.07182
BIFENTHRIN | 2437 | 65067LCM60 | 2015-08-12 | ng/L | 0.28547 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 57.8 | BIFENTHRIN | E | 19 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28547 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.27047 | 0.050153 | 0.28547 | 0.096886 | 0.07182
BIFENTHRIN | 2437 | 65067LCM60 | 2014-07-31 | ng/L | 0.65469 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 37.575 | BIFENTHRIN | E | 19 | 24.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65469 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.48703 | 0.23711 | 0.48703 | 0.33533 | 0.24858
BIFENTHRIN | 2437 | 65067LCM60 | 2015-04-09 | ng/L | 0.31936 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 37.575 | BIFENTHRIN | E | 19 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31936 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.48703 | 0.23711 | 0.48703 | 0.33533 | 0.24858
BIFENTHRIN | 2437 | 65067LCM60 | 2014-08-17 | ng/L | 0.58669 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 38.01 | BIFENTHRIN | E | 19 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58669 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.44988 | 0.19347 | 0.44988 | 0.27361 | 0.20283
BIFENTHRIN | 2437 | 65067LCM60 | 2014-10-07 | ng/L | 0.31308 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 76.02 | BIFENTHRIN | E | 19 | 23.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31308 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.44988 | 0.19347 | 0.44988 | 0.27361 | 0.20283
BIFENTHRIN | 2437 | 65067LCM60 | 2015-08-04 | ng/L | 0.26771 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 28.8 | BIFENTHRIN | E | 19 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26771 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.26771 |  | 0.26771 | 0 | 0