## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTRALIN | 2437 | 68545LCM60 | 2014-07-08 | ng/L | 0.842 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 20.19 | BUTRALIN | E | 5 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.842 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.842 |  | 0.842 | 0 | 0
BUTRALIN | 2437 | 68545LCM60 | 2014-08-16 | ng/L | 0.6419 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 10.095 | BUTRALIN | E | 5 | 6.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6419 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.6419 |  | 0.6419 | 0 | 0
BUTRALIN | 2437 | 68545LCM60 | 2014-08-20 | ng/L | 0.68648 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 10.095 | BUTRALIN | E | 5 | 6.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68648 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.68648 |  | 0.68648 | 0 | 0
BUTRALIN | 2437 | 68545LCM60 | 2014-09-23 | ng/L | 0.75301 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 9.96 | BUTRALIN | E | 5 | 7.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75301 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.8089 | 0.04976 | 0.8253 | 0.095382 | 0.070705
BUTRALIN | 2437 | 68545LCM60 | 2014-11-18 | ng/L | 0.84839 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 19.92 | BUTRALIN | E | 5 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.8089 | 0.04976 | 0.8253 | 0.095382 | 0.070705
BUTRALIN | 2437 | 68545LCM60 | 2015-04-08 | ng/L | 0.8253 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 9.96 | BUTRALIN | E | 5 | 8.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8253 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.8089 | 0.04976 | 0.8253 | 0.095382 | 0.070705
BUTRALIN | 2437 | 68545LCM60 | 2014-12-16 | ng/L | 0.85191 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 20.19 | BUTRALIN | E | 5 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85191 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.85191 |  | 0.85191 | 0 | 0
BUTRALIN | 2437 | 68545LCM60 | 2014-05-17 | ng/L | 0.80522 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 9.96 | BUTRALIN | E | 5 | 8.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80522 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.88839 | 0.085695 | 0.88353 | 0.17118 | 0.1269
BUTRALIN | 2437 | 68545LCM60 | 2014-06-11 | ng/L | 0.97641 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 39.84 | BUTRALIN | E | 5 | 38.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97641 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.88839 | 0.085695 | 0.88353 | 0.17118 | 0.1269
BUTRALIN | 2437 | 68545LCM60 | 2014-06-26 | ng/L | 0.88353 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 19.92 | BUTRALIN | E | 5 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88353 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.88839 | 0.085695 | 0.88353 | 0.17118 | 0.1269
BUTRALIN | 2437 | 68545LCM60 | 2014-10-07 | ng/L | 0.79618 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 9.96 | BUTRALIN | E | 5 | 7.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79618 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.75703 | 0.055376 | 0.75703 | 0.078313 | 0.058053
BUTRALIN | 2437 | 68545LCM60 | 2014-12-02 | ng/L | 0.71787 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 19.92 | BUTRALIN | E | 5 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71787 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.75703 | 0.055376 | 0.75703 | 0.078313 | 0.058053
BUTRALIN | 2437 | 68545LCM60 | 2014-09-04 | ng/L | 0.64257 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 19.92 | BUTRALIN | E | 5 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64257 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.81124 | 0.23854 | 0.81124 | 0.33735 | 0.25007
BUTRALIN | 2437 | 68545LCM60 | 2014-09-10 | ng/L | 0.97992 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 9.96 | BUTRALIN | E | 5 | 9.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97992 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.81124 | 0.23854 | 0.81124 | 0.33735 | 0.25007
BUTRALIN | 2437 | 68545LCM60 | 2015-08-11 | ng/L | 0.79329 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.45 | BUTRALIN | E | 5 | 5.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79329 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.8745 | 0.11485 | 0.8745 | 0.16242 | 0.1204
BUTRALIN | 2437 | 68545LCM60 | 2015-08-11 | ng/L | 0.9557 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.45 | BUTRALIN | E | 5 | 7.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9557 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.8745 | 0.11485 | 0.8745 | 0.16242 | 0.1204