## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLATE | 2437 | 65068LCM60 | 2013-12-10 | ng/L | 0.69042 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 40.41 | BUTYLATE | . | 6 | 27.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69042 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69042 |  | 0.69042 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-07-19 | ng/L | 0.7606 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 24.06 | BUTYLATE | . | 6 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7606 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7606 |  | 0.7606 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-12-02 | ng/L | 0.7072 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 24.18 | BUTYLATE | . | 6 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7072 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7072 |  | 0.7072 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-11-18 | ng/L | 0.88113 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 24.06 | BUTYLATE | . | 6 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88113 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88113 |  | 0.88113 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2013-09-29 | ng/L | 0.82653 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 40.41 | BUTYLATE | . | 6 | 33.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82653 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82653 |  | 0.82653 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-12-16 | ng/L | 0.86435 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 24.18 | BUTYLATE | . | 6 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86435 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86435 |  | 0.86435 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2015-04-15 | ng/L | 0.97601 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 12.09 | BUTYLATE | . | 6 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97601 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97601 |  | 0.97601 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-06-11 | ng/L | 0.85194 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 48.36 | BUTYLATE | E | 6 | 41.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85194 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85194 |  | 0.85194 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2015-04-09 | ng/L | 0.87282 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 12.03 | BUTYLATE | . | 6 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87282 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87282 |  | 0.87282 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2014-10-07 | ng/L | 0.56245 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 24.18 | BUTYLATE | . | 6 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56245 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56245 |  | 0.56245 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2015-08-04 | ng/L | 0.97033 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 9.1 | BUTYLATE | . | 6 | 8.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97033 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97033 |  | 0.97033 | 0 | 0
BUTYLATE | 2437 | 65068LCM60 | 2013-12-18 | ng/L | 0.3925 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 40 | BUTYLATE | . | 6 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3925 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.3925 |  | 0.3925 | 0 | 0