## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBENDAZIM | 2437 | 68548LCM60 | 2014-07-08 | ng/L | 2.4069 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12.09 | CARBENDAZIM | E | 3 | 29.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 2 |  | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-08-16 | ng/L | 2.4152 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.045 | CARBENDAZIM | E | 3 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 2 |  | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-08-20 | ng/L | 3.0438 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 6.045 | CARBENDAZIM | E | 3 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 2 |  | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-09-23 | ng/L | 2.2833 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6 | CARBENDAZIM | E | 3 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-11-18 | ng/L | 2.1583 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12 | CARBENDAZIM | E | 3 | 25.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2015-04-08 | ng/L | 2.2833 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6 | CARBENDAZIM | E | 3 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-12-16 | ng/L | 2.4318 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 12.09 | CARBENDAZIM | E | 3 | 29.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 2 |  | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-05-17 | ng/L | 2.6 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 6 | CARBENDAZIM | E | 3 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.9778 | 0.03849 | 2 | 0.066667 | 0.049419 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-06-11 | ng/L | 2.5125 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 24 | CARBENDAZIM | E | 3 | 60.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.9778 | 0.03849 | 2 | 0.066667 | 0.049419 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-06-26 | ng/L | 1.9333 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 12 | CARBENDAZIM | E | 3 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9333 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.9778 | 0.03849 | 2 | 0.066667 | 0.049419
CARBENDAZIM | 2437 | 68548LCM60 | 2014-10-07 | ng/L | 2.1667 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | CARBENDAZIM | E | 3 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-12-02 | ng/L | 2.2583 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12 | CARBENDAZIM | E | 3 | 27.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-09-04 | ng/L | 1.8583 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12 | CARBENDAZIM | E | 3 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8583 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.9292 | 0.10017 | 1.9292 | 0.14167 | 0.10502
CARBENDAZIM | 2437 | 68548LCM60 | 2014-09-10 | ng/L | 2.4667 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6 | CARBENDAZIM | E | 3 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.9292 | 0.10017 | 1.9292 | 0.14167 | 0.10502 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2015-08-11 | ng/L | 2.3714 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.47 | CARBENDAZIM | E | 3 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2015-08-11 | ng/L | 2.7517 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.47 | CARBENDAZIM | E | 3 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-04-24 | ng/L | 2.3208 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 126.25 | CARBENDAZIM | E | 3 | 293 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-05-03 | ng/L | 2.1485 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 202 | CARBENDAZIM | E | 3 | 434 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-05-29 | ng/L | 2.6693 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | CARBENDAZIM | E | 3 | 674 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-06-05 | ng/L | 2.1584 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | CARBENDAZIM | E | 3 | 1090 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-06-18 | ng/L | 2.5149 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | CARBENDAZIM | E | 3 | 635 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2
CARBENDAZIM | 2437 | 68548LCM60 | 2014-07-02 | ng/L | 2.4752 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | CARBENDAZIM | E | 3 | 1250 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 6 | 2 | 0 | 2 | 0 | 0 | 2