## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS | 2437 | 65072LCM60 | 2013-12-10 | ng/L | 0.815 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 100 | CHLORPYRIFOS | . | 4 | 81.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.815 |  | 0.815 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-07-08 | ng/L | 0.65286 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.93 | CHLORPYRIFOS | . | 4 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65286 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65286 |  | 0.65286 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-08-16 | ng/L | 0.73346 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 8.085 | CHLORPYRIFOS | . | 4 | 5.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73346 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73346 |  | 0.73346 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-01-23 | ng/L | 0.8 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 190 | CHLORPYRIFOS | . | 4 | 152 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-07-19 | ng/L | 0.81607 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.93 | CHLORPYRIFOS | . | 4 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81607 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81607 |  | 0.81607 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-12-02 | ng/L | 0.7533 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 15.93 | CHLORPYRIFOS | . | 4 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7533 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7533 |  | 0.7533 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2013-09-29 | ng/L | 1 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 100 | CHLORPYRIFOS | . | 4 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2013-12-19 | ng/L | 1.2042 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 475 | CHLORPYRIFOS | E | 4 | 572 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2042 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2042 |  | 1.2042 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-04-15 | ng/L | 1.0571 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 7.965 | CHLORPYRIFOS | . | 4 | 8.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0571 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0571 |  | 1.0571 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-07-24 | ng/L | 0.94664 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.965 | CHLORPYRIFOS | . | 4 | 7.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94664 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88261 | 0.09103 | 0.92279 | 0.16824 | 0.12471
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-10-07 | ng/L | 0.92279 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.965 | CHLORPYRIFOS | . | 4 | 7.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92279 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88261 | 0.09103 | 0.92279 | 0.16824 | 0.12471
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-12-02 | ng/L | 0.77841 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 15.93 | CHLORPYRIFOS | . | 4 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77841 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88261 | 0.09103 | 0.92279 | 0.16824 | 0.12471
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-09-04 | ng/L | 0.44465 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 16.17 | CHLORPYRIFOS | E | 4 | 7.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44465 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68924 | 0.3459 | 0.68924 | 0.48918 | 0.36262
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-09-10 | ng/L | 0.93383 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 8.085 | CHLORPYRIFOS | E | 4 | 7.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93383 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68924 | 0.3459 | 0.68924 | 0.48918 | 0.36262
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-12 | ng/L | 1.0302 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.94 | CHLORPYRIFOS | . | 4 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0302 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90871 | 0.12359 | 0.9129 | 0.24707 | 0.18315
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-12 | ng/L | 0.9129 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.94 | CHLORPYRIFOS | . | 4 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9129 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90871 | 0.12359 | 0.9129 | 0.24707 | 0.18315
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-12 | ng/L | 0.78308 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.94 | CHLORPYRIFOS | . | 4 | 9.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78308 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90871 | 0.12359 | 0.9129 | 0.24707 | 0.18315
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-01-10 | ng/L | 0.86316 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 190 | CHLORPYRIFOS | . | 4 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86316 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86316 |  | 0.86316 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-07-31 | ng/L | 0.64317 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.085 | CHLORPYRIFOS | . | 4 | 5.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64317 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58689 | 0.079588 | 0.58689 | 0.11255 | 0.083435
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-04-09 | ng/L | 0.53061 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.085 | CHLORPYRIFOS | . | 4 | 4.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53061 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58689 | 0.079588 | 0.58689 | 0.11255 | 0.083435
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-08-17 | ng/L | 0.63822 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.085 | CHLORPYRIFOS | . | 4 | 5.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63822 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73036 | 0.13031 | 0.73036 | 0.18429 | 0.13661
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-10-07 | ng/L | 0.82251 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.17 | CHLORPYRIFOS | . | 4 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82251 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73036 | 0.13031 | 0.73036 | 0.18429 | 0.13661
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-04 | ng/L | 1.1754 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 6.1 | CHLORPYRIFOS | E | 4 | 7.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1754 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1754 |  | 1.1754 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-11 | ng/L | 0.70017 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | CHLORPYRIFOS | . | 4 | 4.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70017 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84255 | 0.19671 | 0.76047 | 0.36683 | 0.27193
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-11 | ng/L | 0.76047 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | CHLORPYRIFOS | . | 4 | 4.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76047 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84255 | 0.19671 | 0.76047 | 0.36683 | 0.27193
CHLORPYRIFOS | 2437 | 65072LCM60 | 2015-08-11 | ng/L | 1.067 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | CHLORPYRIFOS | . | 4 | 6.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84255 | 0.19671 | 0.76047 | 0.36683 | 0.27193
CHLORPYRIFOS | 2437 | 65072LCM60 | 2014-02-19 | ng/L | 1.0316 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 475 | CHLORPYRIFOS | . | 4 | 490 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0316 |  | 1.0316 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2013-11-07 | ng/L | 0.84737 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 190 | CHLORPYRIFOS | . | 4 | 161 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84737 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84737 |  | 0.84737 | 0 | 0
CHLORPYRIFOS | 2437 | 65072LCM60 | 2013-12-18 | ng/L | 1.22 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 100 | CHLORPYRIFOS | E | 4 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.22 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.22 |  | 1.22 | 0 | 0