## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYANAZINE | 2437 | 66592LCM60 | 2013-12-10 | ng/L | 0.59 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 300 | CYANAZINE | E | 16 | 177 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59 |  | 0.59 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-01-23 | ng/L | 0.89855 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 276 | CYANAZINE | . | 16 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89855 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89855 |  | 0.89855 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-07-19 | ng/L | 0.13959 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 64.62 | CYANAZINE | E | 16 | 9.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.13959 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.13959 |  | 0.13959 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-12-02 | ng/L | 1.1937 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 64.17 | CYANAZINE | . | 16 | 76.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1937 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1937 |  | 1.1937 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-09-23 | ng/L | 1.3711 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 32.31 | CYANAZINE | E | 16 | 44.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3711 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2189 | 0.16439 | 1.2411 | 0.32652 | 0.24205
CYANAZINE | 2437 | 66592LCM60 | 2014-11-18 | ng/L | 1.0446 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 64.62 | CYANAZINE | . | 16 | 67.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0446 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2189 | 0.16439 | 1.2411 | 0.32652 | 0.24205
CYANAZINE | 2437 | 66592LCM60 | 2015-04-08 | ng/L | 1.2411 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 32.31 | CYANAZINE | . | 16 | 40.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2411 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2189 | 0.16439 | 1.2411 | 0.32652 | 0.24205
CYANAZINE | 2437 | 66592LCM60 | 2013-09-29 | ng/L | 0.35 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 300 | CYANAZINE | . | 16 | 105 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.35 |  | 0.35 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2013-12-19 | ng/L | 0.95507 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 690 | CYANAZINE | . | 16 | 659 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95507 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95507 |  | 0.95507 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-12-16 | ng/L | 0.71061 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 64.17 | CYANAZINE | . | 16 | 45.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71061 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71061 |  | 0.71061 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2015-04-15 | ng/L | 1.3433 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 32.085 | CYANAZINE | . | 16 | 43.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3433 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3433 |  | 1.3433 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-06-11 | ng/L | 0.72775 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 128.34 | CYANAZINE | E | 16 | 93.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72775 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72775 |  | 0.72775 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2015-08-12 | ng/L | 1.9125 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 48 | CYANAZINE | E | 16 | 91.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9125 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.9125 |  | 1.9125 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-01-10 | ng/L | 0.79348 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 276 | CYANAZINE | E | 16 | 219 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79348 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79348 |  | 0.79348 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2014-08-17 | ng/L | 1.0192 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 32.085 | CYANAZINE | . | 16 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97086 | 0.068319 | 0.97086 | 0.096618 | 0.071622
CYANAZINE | 2437 | 66592LCM60 | 2014-10-07 | ng/L | 0.92255 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 64.17 | CYANAZINE | . | 16 | 59.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92255 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97086 | 0.068319 | 0.97086 | 0.096618 | 0.071622
CYANAZINE | 2437 | 66592LCM60 | 2015-08-11 | ng/L | 2.3417 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 24 | CYANAZINE | E | 16 | 56.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
CYANAZINE | 2437 | 66592LCM60 | 2014-02-19 | ng/L | 0.70073 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 685 | CYANAZINE | E | 16 | 480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70073 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70073 |  | 0.70073 | 0 | 0
CYANAZINE | 2437 | 66592LCM60 | 2013-11-07 | ng/L | 0.57664 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 274 | CYANAZINE | E | 16 | 158 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57664 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57664 |  | 0.57664 | 0 | 0