## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-07-08 | ng/L | 0.28088 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 2015.1 | DACTHAL_MONOACID | E | 500 | 566 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28088 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.28088 |  | 0.28088 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-08-11 | ng/L | 1.9255 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 1007.55 | DACTHAL_MONOACID | E | 500 | 1940 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9255 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.9255 |  | 1.9255 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-08-19 | ng/L | 0.50022 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 1007.55 | DACTHAL_MONOACID | E | 500 | 504 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50022 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.50022 |  | 0.50022 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-09-23 | ng/L | 0.8187 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 1016.25 | DACTHAL_MONOACID | E | 500 | 832 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8187 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2971 | 0.62183 | 1.0726 | 1.1813 | 0.87569
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-11-18 | ng/L | 1.0726 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 2032.5 | DACTHAL_MONOACID | E | 500 | 2180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0726 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2971 | 0.62183 | 1.0726 | 1.1813 | 0.87569
DACTHAL MONOACID | 2437 | 68560LCM60 | 2015-04-07 | ng/L | 2.5781 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 1016.25 | DACTHAL_MONOACID | E | 500 | 2620 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2971 | 0.62183 | 1.0726 | 1.1813 | 0.87569 | 2
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-12-16 | ng/L | 1.4888 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 2015.1 | DACTHAL_MONOACID | E | 500 | 3000 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4888 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.4888 |  | 1.4888 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-05-21 | ng/L | 0.82362 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 1016.25 | DACTHAL_MONOACID | E | 500 | 837 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82362 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75998 | 0.2449 | 0.82362 | 0.47724 | 0.35378
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-06-10 | ng/L | 0.96679 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 4065 | DACTHAL_MONOACID | E | 500 | 3930 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96679 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75998 | 0.2449 | 0.82362 | 0.47724 | 0.35378
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-06-25 | ng/L | 0.48954 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 2032.5 | DACTHAL_MONOACID | E | 500 | 995 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48954 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.75998 | 0.2449 | 0.82362 | 0.47724 | 0.35378
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-07-24 | ng/L | 1.0726 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 1016.25 | DACTHAL_MONOACID | E | 500 | 1090 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0726 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.99615 | 0.075303 | 0.99385 | 0.15055 | 0.1116
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-10-07 | ng/L | 0.92202 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 1016.25 | DACTHAL_MONOACID | E | 500 | 937 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92202 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.99615 | 0.075303 | 0.99385 | 0.15055 | 0.1116
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-12-03 | ng/L | 0.99385 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 2032.5 | DACTHAL_MONOACID | E | 500 | 2020 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99385 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.99615 | 0.075303 | 0.99385 | 0.15055 | 0.1116
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-09-03 | ng/L | 0.92005 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 2032.5 | DACTHAL_MONOACID | E | 500 | 1870 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92005 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.92005 |  | 0.92005 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2015-08-03 | ng/L | 0.90909 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 748 | DACTHAL_MONOACID | E | 500 | 680 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.90909 |  | 0.90909 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-02-05 | ng/L | 0.59468 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 301 | DACTHAL_MONOACID | E | 500 | 179 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.59468 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Estimated Values | Y | 1 |  |  |  |  | Y | 1 | 0.59468 |  | 0.59468 | 0 | 0
DACTHAL MONOACID | 2437 | 68560LCM60 | 2014-03-04 | ng/L | 0.96346 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 301 | DACTHAL_MONOACID | E | 500 | 290 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.96346 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Estimated Values | Y | 1 |  |  |  |  | Y | 1 | 0.96346 |  | 0.96346 | 0 | 0