## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-04-24 | ng/L | 0.832 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | DECHLOROMETOLACHLOR | . | 2 | 104 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-05-03 | ng/L | 0.775 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | DECHLOROMETOLACHLOR | . | 2 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-05-29 | ng/L | 0.912 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | DECHLOROMETOLACHLOR | . | 2 | 228 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-06-05 | ng/L | 0.854 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | DECHLOROMETOLACHLOR | . | 2 | 427 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.854 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-06-18 | ng/L | 0.896 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | DECHLOROMETOLACHLOR | . | 2 | 224 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.896 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443
DECHLOROMETOLACHLOR | 2437 | 68562LCM60 | 2014-07-02 | ng/L | 0.872 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | DECHLOROMETOLACHLOR | . | 2 | 436 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.85683 | 0.049252 | 0.863 | 0.064 | 0.047443