## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-12-10 | ng/L | 1.005 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 201 | DEETHYLATRAZINE | . | 11 | 202 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.005 |  | 1.005 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-07-08 | ng/L | 0.96154 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 43.68 | DEETHYLATRAZINE | . | 11 | 42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96154 |  | 0.96154 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-08-16 | ng/L | 1.0394 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 21.84 | DEETHYLATRAZINE | . | 11 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0394 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0394 |  | 1.0394 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-01-23 | ng/L | 1.25 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 220 | DEETHYLATRAZINE | . | 11 | 275 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.25 |  | 1.25 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-08-20 | ng/L | 1.0348 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 21.84 | DEETHYLATRAZINE | . | 11 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0348 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0348 |  | 1.0348 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-09-23 | ng/L | 1.0342 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 22.53 | DEETHYLATRAZINE | . | 11 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0342 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9787 | 0.049075 | 0.96094 | 0.093209 | 0.069095
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-11-18 | ng/L | 0.96094 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 45.06 | DEETHYLATRAZINE | . | 11 | 43.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96094 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9787 | 0.049075 | 0.96094 | 0.093209 | 0.069095
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-04-08 | ng/L | 0.94097 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 22.53 | DEETHYLATRAZINE | . | 11 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94097 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9787 | 0.049075 | 0.96094 | 0.093209 | 0.069095
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-09-29 | ng/L | 1.3781 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 201 | DEETHYLATRAZINE | . | 11 | 277 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3781 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3781 |  | 1.3781 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-12-19 | ng/L | 1.3363 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 565 | DEETHYLATRAZINE | E | 11 | 755 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3363 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3363 |  | 1.3363 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-12-16 | ng/L | 1.2248 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 43.68 | DEETHYLATRAZINE | . | 11 | 53.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2248 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2248 |  | 1.2248 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-05-17 | ng/L | 0.76787 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 22.53 | DEETHYLATRAZINE | E | 11 | 17.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76787 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91877 | 0.15554 | 0.9099 | 0.3107 | 0.23032
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-06-11 | ng/L | 1.0786 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 90.12 | DEETHYLATRAZINE | E | 11 | 97.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0786 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91877 | 0.15554 | 0.9099 | 0.3107 | 0.23032
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-06-26 | ng/L | 0.9099 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 45.06 | DEETHYLATRAZINE | . | 11 | 41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9099 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91877 | 0.15554 | 0.9099 | 0.3107 | 0.23032
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-07-24 | ng/L | 0.90102 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 22.53 | DEETHYLATRAZINE | . | 11 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90102 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98017 | 0.078786 | 0.98091 | 0.15757 | 0.1168
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-10-07 | ng/L | 0.98091 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 22.53 | DEETHYLATRAZINE | . | 11 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98091 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98017 | 0.078786 | 0.98091 | 0.15757 | 0.1168
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-12-02 | ng/L | 1.0586 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 45.06 | DEETHYLATRAZINE | . | 11 | 47.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0586 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98017 | 0.078786 | 0.98091 | 0.15757 | 0.1168
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-09-04 | ng/L | 0.6103 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 45.06 | DEETHYLATRAZINE | . | 11 | 27.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6103 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78895 | 0.25265 | 0.78895 | 0.3573 | 0.26486
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-09-10 | ng/L | 0.9676 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 22.53 | DEETHYLATRAZINE | . | 11 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9676 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78895 | 0.25265 | 0.78895 | 0.3573 | 0.26486
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-07-15 | ng/L | 1.2226 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 32.8 | DEETHYLATRAZINE | E | 11 | 40.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2226 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2226 |  | 1.2226 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-08-12 | ng/L | 0.96037 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 32.8 | DEETHYLATRAZINE | . | 11 | 31.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96037 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9878 | 0.058406 | 0.96037 | 0.10671 | 0.079101
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-08-12 | ng/L | 1.0549 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 32.8 | DEETHYLATRAZINE | . | 11 | 34.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0549 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9878 | 0.058406 | 0.96037 | 0.10671 | 0.079101
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-08-12 | ng/L | 0.94817 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 32.8 | DEETHYLATRAZINE | . | 11 | 31.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94817 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9878 | 0.058406 | 0.96037 | 0.10671 | 0.079101
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-01-10 | ng/L | 1.2273 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 220 | DEETHYLATRAZINE | E | 11 | 270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2273 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2273 |  | 1.2273 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2015-08-04 | ng/L | 1.2577 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 16.3 | DEETHYLATRAZINE | . | 11 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2577 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2577 |  | 1.2577 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-02-06 | ng/L | 0.944 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 500 | DEETHYLATRAZINE | . | 11 | 472 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.944 |  | 0.944 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-10-31 | ng/L | 1.082 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 500 | DEETHYLATRAZINE | . | 11 | 541 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.082 |  | 1.082 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-03-04 | ng/L | 0.962 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 500 | DEETHYLATRAZINE | . | 11 | 481 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.962 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.962 |  | 0.962 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2014-02-19 | ng/L | 1.1545 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 550 | DEETHYLATRAZINE | . | 11 | 635 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1545 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1545 |  | 1.1545 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-11-07 | ng/L | 0.99091 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 220 | DEETHYLATRAZINE | . | 11 | 218 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99091 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99091 |  | 0.99091 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-12-18 | ng/L | 1.3781 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 201 | DEETHYLATRAZINE | E | 11 | 277 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3781 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3781 |  | 1.3781 | 0 | 0
DEETHYLATRAZINE | 2437 | 68552LCM60 | 2013-11-21 | ng/L | 1.362 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 500 | DEETHYLATRAZINE | E | 11 | 681 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.362 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.362 |  | 1.362 | 0 | 0