## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-09-23 | ng/L | 1.1115 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 47.955 | DEETHYLDEISOPROPYLATRAZINE | E | 24 | 53.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1115 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2543 | 0.20201 | 1.2543 | 0.28568 | 0.21178
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-11-18 | ng/L | 1.3971 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 95.91 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3971 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2543 | 0.20201 | 1.2543 | 0.28568 | 0.21178
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-05-17 | ng/L | 0.81535 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 47.955 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 39.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81535 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96723 | 0.13161 | 1.0385 | 0.23251 | 0.17236
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-06-11 | ng/L | 1.0479 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 191.82 | DEETHYLDEISOPROPYLATRAZINE | E | 24 | 201 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.96723 | 0.13161 | 1.0385 | 0.23251 | 0.17236
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-06-26 | ng/L | 1.0385 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 95.91 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 99.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96723 | 0.13161 | 1.0385 | 0.23251 | 0.17236
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-10-07 | ng/L | 1.2616 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 47.955 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 60.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2616 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1886 | 0.10322 | 1.1886 | 0.14597 | 0.10821
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-12-02 | ng/L | 1.1156 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 95.91 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 107 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1156 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1886 | 0.10322 | 1.1886 | 0.14597 | 0.10821
DEETHYLDEISOPROPYLATRAZINE | 2437 | 68547LCM60 | 2014-09-10 | ng/L | 0.85914 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 47.955 | DEETHYLDEISOPROPYLATRAZINE | . | 24 | 41.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85914 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85914 |  | 0.85914 | 0 | 0