## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-07-08 | ng/L | 1.0407 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 8.1 | DEMETHYL_FLUOMETURON | . | 2 | 8.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0407 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0407 |  | 1.0407 | 0 | 0
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-08-16 | ng/L | 1.1728 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 4.05 | DEMETHYL_FLUOMETURON | . | 2 | 4.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1728 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1728 |  | 1.1728 | 0 | 0
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-08-20 | ng/L | 0.84691 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 4.05 | DEMETHYL_FLUOMETURON | . | 2 | 3.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84691 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84691 |  | 0.84691 | 0 | 0
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-12-16 | ng/L | 1.2963 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 8.1 | DEMETHYL_FLUOMETURON | . | 2 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2963 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2963 |  | 1.2963 | 0 | 0
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2015-08-11 | ng/L | 1.1533 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 3 | DEMETHYL_FLUOMETURON | E | 2 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1533 |  | 1.1533 | 0 | 0
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-04-24 | ng/L | 0.94902 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 127.5 | DEMETHYL_FLUOMETURON | . | 2 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94902 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-05-03 | ng/L | 0.83333 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | DEMETHYL_FLUOMETURON | . | 2 | 170 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-05-29 | ng/L | 1.0471 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | DEMETHYL_FLUOMETURON | . | 2 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0471 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-06-05 | ng/L | 0.80784 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | DEMETHYL_FLUOMETURON | . | 2 | 412 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80784 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-06-18 | ng/L | 1.0627 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | DEMETHYL_FLUOMETURON | . | 2 | 271 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0627 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843
DEMETHYL FLUOMETURON | 2437 | 68591LCM60 | 2014-07-02 | ng/L | 0.8902 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | DEMETHYL_FLUOMETURON | . | 2 | 454 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8902 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9317 | 0.10726 | 0.91961 | 0.21373 | 0.15843