## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2015-08-12 | ng/L | 1.443 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.92 | DEMETHYL_NORFLURAZON | . | 4 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.443 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.5213 | 0.06781 | 1.5604 | 0.11745 | 0.087064
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2015-08-12 | ng/L | 1.5604 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.92 | DEMETHYL_NORFLURAZON | . | 4 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5604 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.5213 | 0.06781 | 1.5604 | 0.11745 | 0.087064
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2015-08-12 | ng/L | 1.5604 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.92 | DEMETHYL_NORFLURAZON | . | 4 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5604 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.5213 | 0.06781 | 1.5604 | 0.11745 | 0.087064
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2015-08-11 | ng/L | 2.2483 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.96 | DEMETHYL_NORFLURAZON | . | 4 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-04-24 | ng/L | 0.7896 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | DEMETHYL_NORFLURAZON | . | 4 | 98.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7896 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-05-03 | ng/L | 0.66 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | DEMETHYL_NORFLURAZON | . | 4 | 132 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-05-29 | ng/L | 0.864 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | DEMETHYL_NORFLURAZON | . | 4 | 216 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.864 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-06-05 | ng/L | 0.632 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | DEMETHYL_NORFLURAZON | . | 4 | 316 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.632 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-06-18 | ng/L | 0.836 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | DEMETHYL_NORFLURAZON | . | 4 | 209 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122
DEMETHYL NORFLURAZON | 2437 | 68567LCM60 | 2014-07-02 | ng/L | 0.944 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | DEMETHYL_NORFLURAZON | . | 4 | 472 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.7876 | 0.12094 | 0.8128 | 0.204 | 0.15122