## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON | 2437 | 65078LCM60 | 2013-12-10 | ng/L | 1.1753 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 100.4 | DIAZINON | E | 3 | 118 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1753 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1753 |  | 1.1753 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-07-08 | ng/L | 0.95 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12 | DIAZINON | E | 3 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.95 |  | 0.95 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-08-16 | ng/L | 0.73727 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.09 | DIAZINON | E | 3 | 4.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73727 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73727 |  | 0.73727 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-01-23 | ng/L | 1.2643 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 70 | DIAZINON | E | 3 | 88.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2643 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2643 |  | 1.2643 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-07-19 | ng/L | 1.2333 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12 | DIAZINON | . | 3 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2333 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2333 |  | 1.2333 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-12-02 | ng/L | 1.275 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 12 | DIAZINON | E | 3 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.275 |  | 1.275 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2013-09-29 | ng/L | 1.2351 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 100.4 | DIAZINON | E | 3 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2351 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2351 |  | 1.2351 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2013-12-19 | ng/L | 1.3173 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 187.5 | DIAZINON | E | 3 | 247 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3173 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3173 |  | 1.3173 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2015-04-15 | ng/L | 1.1333 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 6 | DIAZINON | E | 3 | 6.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1333 |  | 1.1333 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-07-24 | ng/L | 1.2433 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | DIAZINON | . | 3 | 7.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2433 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1139 | 0.11321 | 1.065 | 0.21 | 0.15567
DIAZINON | 2437 | 65078LCM60 | 2014-10-07 | ng/L | 1.065 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | DIAZINON | E | 3 | 6.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1139 | 0.11321 | 1.065 | 0.21 | 0.15567
DIAZINON | 2437 | 65078LCM60 | 2014-12-02 | ng/L | 1.0333 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12 | DIAZINON | E | 3 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1139 | 0.11321 | 1.065 | 0.21 | 0.15567
DIAZINON | 2437 | 65078LCM60 | 2014-09-04 | ng/L | 0.63793 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.18 | DIAZINON | E | 3 | 7.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63793 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85181 | 0.30247 | 0.85181 | 0.42775 | 0.31709
DIAZINON | 2437 | 65078LCM60 | 2014-09-10 | ng/L | 1.0657 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.09 | DIAZINON | E | 3 | 6.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0657 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85181 | 0.30247 | 0.85181 | 0.42775 | 0.31709
DIAZINON | 2437 | 65078LCM60 | 2015-07-15 | ng/L | 1.1667 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9 | DIAZINON | E | 3 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-01-10 | ng/L | 1.0843 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 70 | DIAZINON | E | 3 | 75.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0843 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0843 |  | 1.0843 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-07-31 | ng/L | 0.6601 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.09 | DIAZINON | . | 3 | 4.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6601 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6601 |  | 0.6601 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2014-08-17 | ng/L | 0.66831 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 6.09 | DIAZINON | E | 3 | 4.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66831 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76519 | 0.13701 | 0.76519 | 0.19376 | 0.14363
DIAZINON | 2437 | 65078LCM60 | 2014-10-07 | ng/L | 0.86207 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 12.18 | DIAZINON | E | 3 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86207 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76519 | 0.13701 | 0.76519 | 0.19376 | 0.14363
DIAZINON | 2437 | 65078LCM60 | 2015-08-11 | ng/L | 1.0553 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.52 | DIAZINON | . | 3 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1228 | 0.095428 | 1.1228 | 0.13496 | 0.10004
DIAZINON | 2437 | 65078LCM60 | 2015-08-11 | ng/L | 1.1903 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.52 | DIAZINON | . | 3 | 5.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1903 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1228 | 0.095428 | 1.1228 | 0.13496 | 0.10004
DIAZINON | 2437 | 65078LCM60 | 2014-02-19 | ng/L | 1.2057 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 175 | DIAZINON | E | 3 | 211 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2057 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2057 |  | 1.2057 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2013-11-07 | ng/L | 1.0571 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 70 | DIAZINON | E | 3 | 74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0571 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0571 |  | 1.0571 | 0 | 0
DIAZINON | 2437 | 65078LCM60 | 2013-12-18 | ng/L | 1.17 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 100 | DIAZINON | E | 3 | 117 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.17 |  | 1.17 | 0 | 0