## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICAMBA | 2437 | 68571LCM60 | 2014-07-08 | ng/L | 0.20659 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 2018.52 | DICAMBA | E | 500 | 417 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20659 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.20659 |  | 0.20659 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-08-11 | ng/L | 0.86202 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 1009.26 | DICAMBA | E | 500 | 870 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86202 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.86202 |  | 0.86202 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-08-19 | ng/L | 0.9066 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 1009.26 | DICAMBA | E | 500 | 915 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9066 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.9066 |  | 0.9066 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-11-18 | ng/L | 1.0694 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 2001.12 | DICAMBA | E | 500 | 2140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0694 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.3442 | 0.38869 | 1.3442 | 0.54969 | 0.40748
DICAMBA | 2437 | 68571LCM60 | 2015-04-07 | ng/L | 1.6191 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 1000.56 | DICAMBA | E | 500 | 1620 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6191 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.3442 | 0.38869 | 1.3442 | 0.54969 | 0.40748
DICAMBA | 2437 | 68571LCM60 | 2014-12-16 | ng/L | 1.0949 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 2018.52 | DICAMBA | E | 500 | 2210 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0949 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0949 |  | 1.0949 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-05-21 | ng/L | 0.48473 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 1000.56 | DICAMBA | E | 500 | 485 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48473 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.73209 | 0.21422 | 0.85452 | 0.37229 | 0.27598
DICAMBA | 2437 | 68571LCM60 | 2014-06-10 | ng/L | 0.85702 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 4002.24 | DICAMBA | E | 500 | 3430 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85702 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.73209 | 0.21422 | 0.85452 | 0.37229 | 0.27598
DICAMBA | 2437 | 68571LCM60 | 2014-06-25 | ng/L | 0.85452 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 2001.12 | DICAMBA | E | 500 | 1710 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85452 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.73209 | 0.21422 | 0.85452 | 0.37229 | 0.27598
DICAMBA | 2437 | 68571LCM60 | 2014-10-07 | ng/L | 0.92548 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 1000.56 | DICAMBA | E | 500 | 926 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92548 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.82754 | 0.13852 | 0.82754 | 0.19589 | 0.14521
DICAMBA | 2437 | 68571LCM60 | 2014-12-03 | ng/L | 0.72959 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 2001.12 | DICAMBA | E | 500 | 1460 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72959 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.82754 | 0.13852 | 0.82754 | 0.19589 | 0.14521
DICAMBA | 2437 | 68571LCM60 | 2014-09-03 | ng/L | 0.74458 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 2001.12 | DICAMBA | E | 500 | 1490 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74458 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.0969 | 0.49823 | 1.0969 | 0.70461 | 0.52232
DICAMBA | 2437 | 68571LCM60 | 2014-09-10 | ng/L | 1.4492 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 1000.56 | DICAMBA | E | 500 | 1450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4492 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.0969 | 0.49823 | 1.0969 | 0.70461 | 0.52232
DICAMBA | 2437 | 68571LCM60 | 2015-08-11 | ng/L | 1.3926 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 754 | DICAMBA | E | 500 | 1050 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3926 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.3926 |  | 1.3926 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-02-05 | ng/L | 0.85285 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 999 | DICAMBA | E | 500 | 852 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85285 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.85285 |  | 0.85285 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2014-03-04 | ng/L | 0.8028 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 999 | DICAMBA | E | 500 | 802 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8028 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.8028 |  | 0.8028 | 0 | 0
DICAMBA | 2437 | 68571LCM60 | 2013-11-23 | ng/L | 0.92893 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 999 | DICAMBA | E | 500 | 928 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92893 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.92893 |  | 0.92893 | 0 | 0