## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICHLORVOS | 2437 | 68572LCM60 | 2014-07-08 | ng/L | 1.1486 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 208.95 | DICHLORVOS | E | 52 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1486 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1486 |  | 1.1486 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-08-16 | ng/L | 0.94089 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 104.475 | DICHLORVOS | . | 52 | 98.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94089 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94089 |  | 0.94089 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-01-23 | ng/L | 1.2544 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 401 | DICHLORVOS | E | 52 | 503 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2544 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2544 |  | 1.2544 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-08-20 | ng/L | 0.77435 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 104.475 | DICHLORVOS | E | 52 | 80.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77435 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77435 |  | 0.77435 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-09-23 | ng/L | 1.1531 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 104.07 | DICHLORVOS | E | 52 | 120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1531 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1643 | 0.015444 | 1.1579 | 0.028827 | 0.021369
DICHLORVOS | 2437 | 68572LCM60 | 2014-11-18 | ng/L | 1.1579 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 208.14 | DICHLORVOS | . | 52 | 241 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1579 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1643 | 0.015444 | 1.1579 | 0.028827 | 0.021369
DICHLORVOS | 2437 | 68572LCM60 | 2015-04-08 | ng/L | 1.1819 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 104.07 | DICHLORVOS | E | 52 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1819 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1643 | 0.015444 | 1.1579 | 0.028827 | 0.021369
DICHLORVOS | 2437 | 68572LCM60 | 2013-12-19 | ng/L | 1.2668 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 1002.5 | DICHLORVOS | E | 52 | 1270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2668 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2668 |  | 1.2668 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-12-16 | ng/L | 1.1869 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 208.95 | DICHLORVOS | E | 52 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1869 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1869 |  | 1.1869 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2014-05-17 | ng/L | 1.2588 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 104.07 | DICHLORVOS | E | 52 | 131 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2588 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.6019 | 0.37365 | 1.547 | 0.74123 | 0.54947
DICHLORVOS | 2437 | 68572LCM60 | 2014-06-11 | ng/L | 2.3326 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 416.28 | DICHLORVOS | . | 52 | 971 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.6019 | 0.37365 | 1.547 | 0.74123 | 0.54947 | 2
DICHLORVOS | 2437 | 68572LCM60 | 2014-06-26 | ng/L | 1.547 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 208.14 | DICHLORVOS | E | 52 | 322 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.547 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.6019 | 0.37365 | 1.547 | 0.74123 | 0.54947
DICHLORVOS | 2437 | 68572LCM60 | 2014-07-24 | ng/L | 1.0666 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 104.07 | DICHLORVOS | . | 52 | 111 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0666 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1659 | 0.16373 | 1.0762 | 0.28827 | 0.21369
DICHLORVOS | 2437 | 68572LCM60 | 2014-10-07 | ng/L | 1.0762 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 104.07 | DICHLORVOS | E | 52 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0762 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1659 | 0.16373 | 1.0762 | 0.28827 | 0.21369
DICHLORVOS | 2437 | 68572LCM60 | 2014-12-02 | ng/L | 1.3549 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 208.14 | DICHLORVOS | E | 52 | 282 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3549 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1659 | 0.16373 | 1.0762 | 0.28827 | 0.21369
DICHLORVOS | 2437 | 68572LCM60 | 2014-09-04 | ng/L | 0.66302 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 208.14 | DICHLORVOS | E | 52 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66302 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3315 | 0.94539 | 1.3315 | 1.337 | 0.99109
DICHLORVOS | 2437 | 68572LCM60 | 2014-09-10 | ng/L | 2.2677 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 104.07 | DICHLORVOS | E | 52 | 236 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3315 | 0.94539 | 1.3315 | 1.337 | 0.99109 | 2
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-12 | ng/L | 1.2564 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 156.8 | DICHLORVOS | E | 52 | 197 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2564 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0523 | 0.20097 | 1.0459 | 0.40179 | 0.29784
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-12 | ng/L | 1.0459 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 156.8 | DICHLORVOS | E | 52 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0459 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0523 | 0.20097 | 1.0459 | 0.40179 | 0.29784
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-12 | ng/L | 0.85459 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 156.8 | DICHLORVOS | E | 52 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85459 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0523 | 0.20097 | 1.0459 | 0.40179 | 0.29784
DICHLORVOS | 2437 | 68572LCM60 | 2014-01-10 | ng/L | 1.5786 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 401 | DICHLORVOS | E | 52 | 633 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5786 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5786 |  | 1.5786 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-04 | ng/L | 1.8519 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 78.3 | DICHLORVOS | E | 52 | 145 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8519 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.8519 |  | 1.8519 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-11 | ng/L | 1.1416 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 78.4 | DICHLORVOS | E | 52 | 89.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1416 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1779 | 0.05141 | 1.1779 | 0.072704 | 0.053895
DICHLORVOS | 2437 | 68572LCM60 | 2015-08-11 | ng/L | 1.2143 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 78.4 | DICHLORVOS | E | 52 | 95.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2143 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1779 | 0.05141 | 1.1779 | 0.072704 | 0.053895
DICHLORVOS | 2437 | 68572LCM60 | 2014-02-19 | ng/L | 1.2965 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 995 | DICHLORVOS | E | 52 | 1290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2965 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2965 |  | 1.2965 | 0 | 0
DICHLORVOS | 2437 | 68572LCM60 | 2013-11-07 | ng/L | 1.0879 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 398 | DICHLORVOS | E | 52 | 433 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0879 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0879 |  | 1.0879 | 0 | 0