## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICROTOPHOS | 2437 | 68573LCM60 | 2014-07-08 | ng/L | 0.96673 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.93 | DICROTOPHOS | . | 4 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96673 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96673 |  | 0.96673 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-08-16 | ng/L | 1.0923 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 7.965 | DICROTOPHOS | . | 4 | 8.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0923 |  | 1.0923 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-01-23 | ng/L | 1.2289 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 1009 | DICROTOPHOS | E | 4 | 1240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2289 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2289 |  | 1.2289 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-08-20 | ng/L | 1.0496 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.965 | DICROTOPHOS | . | 4 | 8.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0496 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0496 |  | 1.0496 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-09-23 | ng/L | 1.0851 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.935 | DICROTOPHOS | E | 4 | 8.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0851 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.98425 | 0.14716 | 1.0523 | 0.26969 | 0.19992
DICROTOPHOS | 2437 | 68573LCM60 | 2014-11-18 | ng/L | 1.0523 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 15.87 | DICROTOPHOS | . | 4 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0523 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98425 | 0.14716 | 1.0523 | 0.26969 | 0.19992
DICROTOPHOS | 2437 | 68573LCM60 | 2015-04-08 | ng/L | 0.81537 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.935 | DICROTOPHOS | . | 4 | 6.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81537 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98425 | 0.14716 | 1.0523 | 0.26969 | 0.19992
DICROTOPHOS | 2437 | 68573LCM60 | 2013-12-19 | ng/L | 1.2725 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 2522.5 | DICROTOPHOS | E | 4 | 3210 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2725 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2725 |  | 1.2725 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-12-16 | ng/L | 1.1739 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 15.93 | DICROTOPHOS | . | 4 | 18.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1739 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1739 |  | 1.1739 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2014-05-17 | ng/L | 1.0536 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 7.935 | DICROTOPHOS | . | 4 | 8.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0536 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4169 | 0.51004 | 1.1972 | 0.94644 | 0.70159
DICROTOPHOS | 2437 | 68573LCM60 | 2014-06-11 | ng/L | 2.029 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 31.74 | DICROTOPHOS | E | 4 | 64.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.4169 | 0.51004 | 1.1972 | 0.94644 | 0.70159 | 2
DICROTOPHOS | 2437 | 68573LCM60 | 2014-06-26 | ng/L | 1.1972 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 15.87 | DICROTOPHOS | . | 4 | 19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1972 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4169 | 0.51004 | 1.1972 | 0.94644 | 0.70159
DICROTOPHOS | 2437 | 68573LCM60 | 2014-07-24 | ng/L | 0.88091 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.935 | DICROTOPHOS | . | 4 | 6.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88091 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.012 | 0.14771 | 0.98299 | 0.29112 | 0.2158
DICROTOPHOS | 2437 | 68573LCM60 | 2014-10-07 | ng/L | 0.98299 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.935 | DICROTOPHOS | . | 4 | 7.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98299 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.012 | 0.14771 | 0.98299 | 0.29112 | 0.2158
DICROTOPHOS | 2437 | 68573LCM60 | 2014-12-02 | ng/L | 1.172 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 15.87 | DICROTOPHOS | . | 4 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.172 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.012 | 0.14771 | 0.98299 | 0.29112 | 0.2158
DICROTOPHOS | 2437 | 68573LCM60 | 2014-09-04 | ng/L | 0.83806 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 15.87 | DICROTOPHOS | E | 4 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83806 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2382 | 0.56586 | 1.2382 | 0.80025 | 0.59322
DICROTOPHOS | 2437 | 68573LCM60 | 2014-09-10 | ng/L | 1.6383 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 7.935 | DICROTOPHOS | E | 4 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6383 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2382 | 0.56586 | 1.2382 | 0.80025 | 0.59322
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-12 | ng/L | 1.2437 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.98 | DICROTOPHOS | E | 4 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2437 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.163 | 0.1695 | 1.2437 | 0.30885 | 0.22895
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-12 | ng/L | 1.2771 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.98 | DICROTOPHOS | E | 4 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2771 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.163 | 0.1695 | 1.2437 | 0.30885 | 0.22895
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-12 | ng/L | 0.96828 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 11.98 | DICROTOPHOS | E | 4 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96828 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.163 | 0.1695 | 1.2437 | 0.30885 | 0.22895
DICROTOPHOS | 2437 | 68573LCM60 | 2014-01-10 | ng/L | 1.665 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 1009 | DICROTOPHOS | E | 4 | 1680 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.665 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.665 |  | 1.665 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-04 | ng/L | 1.2738 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 6.1 | DICROTOPHOS | E | 4 | 7.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2738 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2738 |  | 1.2738 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-11 | ng/L | 1.0284 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.99 | DICROTOPHOS | E | 4 | 6.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0284 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0768 | 0.068468 | 1.0768 | 0.096828 | 0.071778
DICROTOPHOS | 2437 | 68573LCM60 | 2015-08-11 | ng/L | 1.1252 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.99 | DICROTOPHOS | E | 4 | 6.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1252 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0768 | 0.068468 | 1.0768 | 0.096828 | 0.071778
DICROTOPHOS | 2437 | 68573LCM60 | 2014-02-19 | ng/L | 1.0613 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 2487.5 | DICROTOPHOS | . | 4 | 2640 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0613 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0613 |  | 1.0613 | 0 | 0
DICROTOPHOS | 2437 | 68573LCM60 | 2013-11-07 | ng/L | 0.91156 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 995 | DICROTOPHOS | . | 4 | 907 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91156 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91156 |  | 0.91156 | 0 | 0