## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-07-08 | ng/L | 0.98919 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 24.06 | DIFLUBENZURON | . | 6 | 23.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98919 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98919 |  | 0.98919 | 0 | 0
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-08-16 | ng/L | 0.98088 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 12.03 | DIFLUBENZURON | . | 6 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98088 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98088 |  | 0.98088 | 0 | 0
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-08-20 | ng/L | 1.0141 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 12.03 | DIFLUBENZURON | . | 6 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0141 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0141 |  | 1.0141 | 0 | 0
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-09-23 | ng/L | 0.66257 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12.21 | DIFLUBENZURON | E | 6 | 8.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66257 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.94021 | 0.24066 | 1.0688 | 0.4267 | 0.31631
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-11-18 | ng/L | 1.0688 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 24.42 | DIFLUBENZURON | . | 6 | 26.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94021 | 0.24066 | 1.0688 | 0.4267 | 0.31631
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-04-08 | ng/L | 1.0893 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12.21 | DIFLUBENZURON | . | 6 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0893 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94021 | 0.24066 | 1.0688 | 0.4267 | 0.31631
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-12-16 | ng/L | 1.0806 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 24.06 | DIFLUBENZURON | . | 6 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0806 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0806 |  | 1.0806 | 0 | 0
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-05-17 | ng/L | 1.2203 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 12.21 | DIFLUBENZURON | . | 6 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2203 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.122 | 0.10996 | 1.1425 | 0.21704 | 0.16089
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-06-11 | ng/L | 1.1425 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 48.84 | DIFLUBENZURON | E | 6 | 55.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1425 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.122 | 0.10996 | 1.1425 | 0.21704 | 0.16089
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-06-26 | ng/L | 1.0033 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 24.42 | DIFLUBENZURON | . | 6 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.122 | 0.10996 | 1.1425 | 0.21704 | 0.16089
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-07-24 | ng/L | 1.0401 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.21 | DIFLUBENZURON | . | 6 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98553 | 0.050042 | 0.97461 | 0.09828 | 0.072854
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-10-07 | ng/L | 0.97461 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.21 | DIFLUBENZURON | . | 6 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97461 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98553 | 0.050042 | 0.97461 | 0.09828 | 0.072854
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-12-02 | ng/L | 0.94185 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 24.42 | DIFLUBENZURON | . | 6 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94185 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98553 | 0.050042 | 0.97461 | 0.09828 | 0.072854
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-09-04 | ng/L | 0.7412 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 24.42 | DIFLUBENZURON | E | 6 | 18.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7412 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.862 | 0.17084 | 0.862 | 0.24161 | 0.1791
DIFLUBENZURON | 2437 | 68576LCM60 | 2014-09-10 | ng/L | 0.9828 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 12.21 | DIFLUBENZURON | . | 6 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9828 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.862 | 0.17084 | 0.862 | 0.24161 | 0.1791
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-12 | ng/L | 0.99444 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 18 | DIFLUBENZURON | . | 6 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99444 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91852 | 0.12673 | 0.98889 | 0.22222 | 0.16473
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-12 | ng/L | 0.98889 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 18 | DIFLUBENZURON | . | 6 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98889 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91852 | 0.12673 | 0.98889 | 0.22222 | 0.16473
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-12 | ng/L | 0.77222 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 18 | DIFLUBENZURON | . | 6 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77222 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91852 | 0.12673 | 0.98889 | 0.22222 | 0.16473
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-04 | ng/L | 1.1758 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 9.1 | DIFLUBENZURON | E | 6 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1758 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1758 |  | 1.1758 | 0 | 0
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-11 | ng/L | 1.0567 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9 | DIFLUBENZURON | . | 6 | 9.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0567 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92296 | 0.147 | 0.94667 | 0.29111 | 0.2158
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-11 | ng/L | 0.94667 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9 | DIFLUBENZURON | . | 6 | 8.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92296 | 0.147 | 0.94667 | 0.29111 | 0.2158
DIFLUBENZURON | 2437 | 68576LCM60 | 2015-08-11 | ng/L | 0.76556 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9 | DIFLUBENZURON | . | 6 | 6.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76556 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92296 | 0.147 | 0.94667 | 0.29111 | 0.2158