## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-07-08 | ng/L | 0.84073 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 361.59 | DIFLUFENZOPYR | . | 88 | 304 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84073 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84073 |  | 0.84073 | 0 | 0
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-08-11 | ng/L | 1.5819 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 180.795 | DIFLUFENZOPYR | . | 88 | 286 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5819 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5819 |  | 1.5819 | 0 | 0
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-08-19 | ng/L | 1.0841 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 180.795 | DIFLUFENZOPYR | . | 88 | 196 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0841 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0841 |  | 1.0841 | 0 | 0
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-09-23 | ng/L | 0.88813 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 175.65 | DIFLUFENZOPYR | . | 88 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88813 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74722 | 0.19927 | 0.74722 | 0.28181 | 0.2089
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-11-18 | ng/L | 0.60632 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 351.3 | DIFLUFENZOPYR | . | 88 | 213 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60632 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74722 | 0.19927 | 0.74722 | 0.28181 | 0.2089
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-12-16 | ng/L | 1.0177 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 361.59 | DIFLUFENZOPYR | . | 88 | 368 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0177 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0177 |  | 1.0177 | 0 | 0
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-05-21 | ng/L | 0.99061 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 175.65 | DIFLUFENZOPYR | . | 88 | 174 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99061 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1448 | 0.3661 | 0.99061 | 0.68175 | 0.50538
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-06-10 | ng/L | 0.88101 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 702.6 | DIFLUFENZOPYR | . | 88 | 619 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88101 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1448 | 0.3661 | 0.99061 | 0.68175 | 0.50538
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-06-25 | ng/L | 1.5628 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 351.3 | DIFLUFENZOPYR | . | 88 | 549 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5628 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1448 | 0.3661 | 0.99061 | 0.68175 | 0.50538
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-07-24 | ng/L | 1.1159 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 175.65 | DIFLUFENZOPYR | . | 88 | 196 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1159 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70861 | 0.35316 | 0.5232 | 0.62909 | 0.46634
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-10-07 | ng/L | 0.5232 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 175.65 | DIFLUFENZOPYR | . | 88 | 91.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5232 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70861 | 0.35316 | 0.5232 | 0.62909 | 0.46634
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-12-03 | ng/L | 0.48676 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 351.3 | DIFLUFENZOPYR | . | 88 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48676 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70861 | 0.35316 | 0.5232 | 0.62909 | 0.46634
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-09-03 | ng/L | 0.46114 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 351.3 | DIFLUFENZOPYR | . | 88 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46114 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62625 | 0.23349 | 0.62625 | 0.3302 | 0.24478
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2014-09-10 | ng/L | 0.79135 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 175.65 | DIFLUFENZOPYR | E | 88 | 139 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79135 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62625 | 0.23349 | 0.62625 | 0.3302 | 0.24478
DIFLUFENZOPYR | 2437 | 68577LCM60 | 2015-08-03 | ng/L | 0.74504 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 131 | DIFLUFENZOPYR | . | 88 | 97.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74504 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74504 |  | 0.74504 | 0 | 0