## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-07-08 | ng/L | 1.0854 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 247.83 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 269 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0854 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0854 |  | 1.0854 | 0 | 0
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-08-11 | ng/L | 1.2428 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 123.915 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 154 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2428 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2428 |  | 1.2428 | 0 | 0
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-08-19 | ng/L | 1.0007 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 123.915 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0007 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0007 |  | 1.0007 | 0 | 0
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-09-23 | ng/L | 1.1543 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 143 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1543 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2041 | 0.23604 | 1.1543 | 0.46414 | 0.34406
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-11-18 | ng/L | 0.99689 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 247.77 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 247 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99689 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2041 | 0.23604 | 1.1543 | 0.46414 | 0.34406
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-04-07 | ng/L | 1.461 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.461 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2041 | 0.23604 | 1.1543 | 0.46414 | 0.34406
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-12-16 | ng/L | 0.98858 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 247.83 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 245 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98858 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98858 |  | 0.98858 | 0 | 0
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-05-21 | ng/L | 1.2834 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | E | 62 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2834 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1052 | 0.16474 | 1.0736 | 0.3249 | 0.24084
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-06-10 | ng/L | 0.95855 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 495.54 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 475 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95855 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1052 | 0.16474 | 1.0736 | 0.3249 | 0.24084
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-06-25 | ng/L | 1.0736 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 247.77 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 266 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0736 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1052 | 0.16474 | 1.0736 | 0.3249 | 0.24084
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-07-24 | ng/L | 1.0332 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0332 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91483 | 0.10749 | 0.88792 | 0.20987 | 0.15558
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-10-07 | ng/L | 0.82334 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82334 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91483 | 0.10749 | 0.88792 | 0.20987 | 0.15558
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-12-03 | ng/L | 0.88792 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 247.77 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 220 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88792 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91483 | 0.10749 | 0.88792 | 0.20987 | 0.15558
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-09-03 | ng/L | 0.7507 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 247.77 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7507 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0615 | 0.4395 | 1.0615 | 0.62154 | 0.46074
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-09-10 | ng/L | 1.3722 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 123.885 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 170 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3722 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0615 | 0.4395 | 1.0615 | 0.62154 | 0.46074
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-12 | ng/L | 1.0043 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 184.2 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 185 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0043 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98806 | 0.064006 | 1.0043 | 0.12486 | 0.092561
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-12 | ng/L | 1.0423 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 184.2 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 192 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98806 | 0.064006 | 1.0043 | 0.12486 | 0.092561
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-12 | ng/L | 0.91748 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 184.2 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 169 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91748 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98806 | 0.064006 | 1.0043 | 0.12486 | 0.092561
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-03 | ng/L | 0.71058 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 92.6 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 65.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71058 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71058 |  | 0.71058 | 0 | 0
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-11 | ng/L | 1.3681 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 92.1 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3681 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.228 | 0.20613 | 1.3246 | 0.37676 | 0.27929
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-11 | ng/L | 1.3246 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 92.1 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3246 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.228 | 0.20613 | 1.3246 | 0.37676 | 0.27929
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2015-08-11 | ng/L | 0.99131 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 92.1 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 91.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99131 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.228 | 0.20613 | 1.3246 | 0.37676 | 0.27929
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-04-21 | ng/L | 1.2771 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 124.5 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2771 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-05-01 | ng/L | 1.1948 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 199.2 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1948 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-05-28 | ng/L | 1.0321 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 249 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 257 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0321 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-06-04 | ng/L | 1.4819 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 498 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 738 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4819 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-06-17 | ng/L | 1.0201 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 249 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 254 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0201 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816
DIKETONITRILE-ISOXAFLUTOLE | 2437 | 68578LCM60 | 2014-07-02 | ng/L | 1.1325 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 498 | DIKETONITRILE-ISOXAFLUTOLE | . | 62 | 564 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1325 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1898 | 0.17317 | 1.1637 | 0.24498 | 0.1816