## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHENAMID | 2437 | 68580LCM60 | 2014-07-08 | ng/L | 1.1111 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12.06 | DIMETHENAMID | . | 3 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1111 |  | 1.1111 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2014-08-16 | ng/L | 0.92206 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.03 | DIMETHENAMID | . | 3 | 5.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92206 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92206 |  | 0.92206 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2014-08-20 | ng/L | 1.0415 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 6.03 | DIMETHENAMID | . | 3 | 6.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0415 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0415 |  | 1.0415 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2014-09-23 | ng/L | 0.74333 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6 | DIMETHENAMID | . | 3 | 4.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74333 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.865 | 0.12084 | 0.86667 | 0.24167 | 0.17915
DIMETHENAMID | 2437 | 68580LCM60 | 2014-11-18 | ng/L | 0.86667 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12 | DIMETHENAMID | . | 3 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.865 | 0.12084 | 0.86667 | 0.24167 | 0.17915
DIMETHENAMID | 2437 | 68580LCM60 | 2015-04-08 | ng/L | 0.985 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6 | DIMETHENAMID | . | 3 | 5.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.865 | 0.12084 | 0.86667 | 0.24167 | 0.17915
DIMETHENAMID | 2437 | 68580LCM60 | 2014-12-16 | ng/L | 1.0448 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 12.06 | DIMETHENAMID | . | 3 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0448 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0448 |  | 1.0448 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2014-05-17 | ng/L | 1.05 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 6 | DIMETHENAMID | . | 3 | 6.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97917 | 0.067056 | 0.97083 | 0.13333 | 0.098839
DIMETHENAMID | 2437 | 68580LCM60 | 2014-06-11 | ng/L | 0.97083 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 24 | DIMETHENAMID | E | 3 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97083 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.97917 | 0.067056 | 0.97083 | 0.13333 | 0.098839
DIMETHENAMID | 2437 | 68580LCM60 | 2014-06-26 | ng/L | 0.91667 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 12 | DIMETHENAMID | . | 3 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97917 | 0.067056 | 0.97083 | 0.13333 | 0.098839
DIMETHENAMID | 2437 | 68580LCM60 | 2014-07-24 | ng/L | 0.92 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | DIMETHENAMID | . | 3 | 5.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.875 | 0.039405 | 0.85833 | 0.073333 | 0.054361
DIMETHENAMID | 2437 | 68580LCM60 | 2014-10-07 | ng/L | 0.84667 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | DIMETHENAMID | . | 3 | 5.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.875 | 0.039405 | 0.85833 | 0.073333 | 0.054361
DIMETHENAMID | 2437 | 68580LCM60 | 2014-12-02 | ng/L | 0.85833 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12 | DIMETHENAMID | . | 3 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.875 | 0.039405 | 0.85833 | 0.073333 | 0.054361
DIMETHENAMID | 2437 | 68580LCM60 | 2014-09-04 | ng/L | 0.78167 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12 | DIMETHENAMID | E | 3 | 9.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78167 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.96833 | 0.26399 | 0.96833 | 0.37333 | 0.27675
DIMETHENAMID | 2437 | 68580LCM60 | 2014-09-10 | ng/L | 1.155 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6 | DIMETHENAMID | . | 3 | 6.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.155 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96833 | 0.26399 | 0.96833 | 0.37333 | 0.27675
DIMETHENAMID | 2437 | 68580LCM60 | 2015-07-15 | ng/L | 1.0078 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9 | DIMETHENAMID | . | 3 | 9.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0078 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0078 |  | 1.0078 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-12 | ng/L | 0.92889 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9 | DIMETHENAMID | . | 3 | 8.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92889 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84611 | 0.11707 | 0.84611 | 0.16556 | 0.12272
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-12 | ng/L | 0.76333 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9 | DIMETHENAMID | . | 3 | 6.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84611 | 0.11707 | 0.84611 | 0.16556 | 0.12272
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-04 | ng/L | 0.03125 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 131.52 | DIMETHENAMID | . | 3 | 4.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.03125 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.03125 |  | 0.03125 | 0 | 0
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-11 | ng/L | 1.0689 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 755 | DIMETHENAMID | . | 3 | 807 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0689 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98764 | 0.086503 | 0.99735 | 0.17219 | 0.12764
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-11 | ng/L | 0.89669 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 755 | DIMETHENAMID | . | 3 | 677 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89669 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98764 | 0.086503 | 0.99735 | 0.17219 | 0.12764
DIMETHENAMID | 2437 | 68580LCM60 | 2015-08-11 | ng/L | 0.99735 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 755 | DIMETHENAMID | . | 3 | 753 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99735 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98764 | 0.086503 | 0.99735 | 0.17219 | 0.12764
DIMETHENAMID | 2437 | 68580LCM60 | 2014-04-24 | ng/L | 0.85398 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 124.125 | DIMETHENAMID | . | 3 | 106 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85398 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493
DIMETHENAMID | 2437 | 68580LCM60 | 2014-05-03 | ng/L | 0.78046 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 198.6 | DIMETHENAMID | . | 3 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78046 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493
DIMETHENAMID | 2437 | 68580LCM60 | 2014-05-29 | ng/L | 1.0272 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 248.25 | DIMETHENAMID | . | 3 | 255 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0272 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493
DIMETHENAMID | 2437 | 68580LCM60 | 2014-06-05 | ng/L | 0.82578 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 496.5 | DIMETHENAMID | . | 3 | 410 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82578 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493
DIMETHENAMID | 2437 | 68580LCM60 | 2014-06-18 | ng/L | 0.93857 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 248.25 | DIMETHENAMID | . | 3 | 233 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93857 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493
DIMETHENAMID | 2437 | 68580LCM60 | 2014-07-02 | ng/L | 1.0574 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 496.5 | DIMETHENAMID | . | 3 | 525 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0574 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.9139 | 0.11243 | 0.89627 | 0.20141 | 0.1493