## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-07-08 | ng/L | 0.72674 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 330.24 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72674 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72674 |  | 0.72674 | 0 | 0
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-08-11 | ng/L | 1.0356 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 165.12 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0356 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0356 |  | 1.0356 | 0 | 0
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-08-19 | ng/L | 1.1083 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 165.12 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 183 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1083 |  | 1.1083 | 0 | 0
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-09-23 | ng/L | 0.89844 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89844 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.239 | 0.3595 | 1.2038 | 0.7164 | 0.53106
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-11-18 | ng/L | 1.2038 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 340.59 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 410 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2038 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.239 | 0.3595 | 1.2038 | 0.7164 | 0.53106
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2015-04-07 | ng/L | 1.6148 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 275 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6148 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.239 | 0.3595 | 1.2038 | 0.7164 | 0.53106
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-12-16 | ng/L | 1.1719 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 330.24 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 387 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1719 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1719 |  | 1.1719 | 0 | 0
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-05-21 | ng/L | 0.93955 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93955 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.011 | 0.080426 | 0.99533 | 0.15855 | 0.11753
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-06-10 | ng/L | 1.0981 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 681.18 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 748 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0981 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.011 | 0.080426 | 0.99533 | 0.15855 | 0.11753
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-06-25 | ng/L | 0.99533 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 340.59 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 339 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99533 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.011 | 0.080426 | 0.99533 | 0.15855 | 0.11753
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-07-24 | ng/L | 1.0452 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 178 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0452 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85048 | 0.1747 | 0.79861 | 0.33765 | 0.2503
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-10-07 | ng/L | 0.79861 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79861 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85048 | 0.1747 | 0.79861 | 0.33765 | 0.2503
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-12-03 | ng/L | 0.7076 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 340.59 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 241 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7076 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85048 | 0.1747 | 0.79861 | 0.33765 | 0.2503
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-09-03 | ng/L | 0.65181 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 340.59 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 222 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65181 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78393 | 0.18685 | 0.78393 | 0.26425 | 0.19588
DIMETHENAMID OXANILIC ACID | 2437 | 68581LCM60 | 2014-09-10 | ng/L | 0.91606 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 170.295 | DIMETHENAMID_OXANILIC_ACID | . | 85 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91606 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78393 | 0.18685 | 0.78393 | 0.26425 | 0.19588