## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-07-08 | ng/L | 0.67005 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 301.47 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 202 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67005 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67005 |  | 0.67005 | 0 | 0
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-08-11 | ng/L | 1.0482 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 150.735 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 158 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0482 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0482 |  | 1.0482 | 0 | 0
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-08-19 | ng/L | 0.88898 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 150.735 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88898 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88898 |  | 0.88898 | 0 | 0
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-09-23 | ng/L | 0.86572 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86572 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1185 | 0.39483 | 0.91627 | 0.70774 | 0.52464
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-11-18 | ng/L | 0.91627 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 316.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91627 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1185 | 0.39483 | 0.91627 | 0.70774 | 0.52464
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-04-07 | ng/L | 1.5735 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 249 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5735 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1185 | 0.39483 | 0.91627 | 0.70774 | 0.52464
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-12-16 | ng/L | 0.89561 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 301.47 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89561 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89561 |  | 0.89561 | 0 | 0
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-05-21 | ng/L | 1.0111 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1053 | 0.082487 | 1.1406 | 0.15324 | 0.11359
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-06-10 | ng/L | 1.1643 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 633 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 737 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1643 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1053 | 0.082487 | 1.1406 | 0.15324 | 0.11359
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-06-25 | ng/L | 1.1406 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 316.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 361 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1406 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1053 | 0.082487 | 1.1406 | 0.15324 | 0.11359
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-07-24 | ng/L | 0.92891 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 147 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92891 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75619 | 0.19582 | 0.79621 | 0.38547 | 0.28574
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-10-07 | ng/L | 0.79621 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79621 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75619 | 0.19582 | 0.79621 | 0.38547 | 0.28574
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-12-03 | ng/L | 0.54344 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 316.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 172 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54344 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75619 | 0.19582 | 0.79621 | 0.38547 | 0.28574
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-09-03 | ng/L | 0.71722 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 316.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 227 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71722 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84518 | 0.18097 | 0.84518 | 0.25592 | 0.18971
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-09-10 | ng/L | 0.97314 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 158.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 154 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97314 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84518 | 0.18097 | 0.84518 | 0.25592 | 0.18971
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-12 | ng/L | 0.91597 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 238 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 218 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91597 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94538 | 0.062179 | 0.91597 | 0.11345 | 0.084096
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-12 | ng/L | 1.0168 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 238 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 242 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0168 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94538 | 0.062179 | 0.91597 | 0.11345 | 0.084096
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-12 | ng/L | 0.90336 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 238 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 215 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90336 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94538 | 0.062179 | 0.91597 | 0.11345 | 0.084096
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-03 | ng/L | 0.73171 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 118.9 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73171 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73171 |  | 0.73171 | 0 | 0
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-11 | ng/L | 1.0084 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 119 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92577 | 0.1579 | 1.0084 | 0.28151 | 0.20868
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-11 | ng/L | 0.7437 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 119 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 88.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7437 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92577 | 0.1579 | 1.0084 | 0.28151 | 0.20868
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2015-08-11 | ng/L | 1.0252 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 119 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0252 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92577 | 0.1579 | 1.0084 | 0.28151 | 0.20868
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-04-21 | ng/L | 1.1802 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 126.25 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1802 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-05-01 | ng/L | 0.72277 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 202 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 146 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72277 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-05-28 | ng/L | 0.85941 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85941 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-06-04 | ng/L | 1.1881 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1881 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-06-17 | ng/L | 1.0574 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0574 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954
DIMETHENAMID SULFONIC ACID | 2437 | 68582LCM60 | 2014-07-02 | ng/L | 0.84356 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | DIMETHENAMID_SULFONIC_ACID | . | 79 | 426 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84356 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.97525 | 0.1942 | 0.95842 | 0.33663 | 0.24954