## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-09-23 | ng/L | 0.49573 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 4.095 | DISULFOTON_OXON | . | 2 | 2.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49573 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48474 | 0.056365 | 0.49573 | 0.11111 | 0.082366
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-11-18 | ng/L | 0.42369 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 8.19 | DISULFOTON_OXON | . | 2 | 3.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42369 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48474 | 0.056365 | 0.49573 | 0.11111 | 0.082366
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-04-08 | ng/L | 0.5348 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 4.095 | DISULFOTON_OXON | . | 2 | 2.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5348 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48474 | 0.056365 | 0.49573 | 0.11111 | 0.082366
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-05-17 | ng/L | 0.64225 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 4.095 | DISULFOTON_OXON | . | 2 | 2.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64225 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67684 | 0.12158 | 0.64225 | 0.23565 | 0.17469
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-06-11 | ng/L | 0.81197 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 16.38 | DISULFOTON_OXON | E | 2 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81197 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67684 | 0.12158 | 0.64225 | 0.23565 | 0.17469
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-06-26 | ng/L | 0.57631 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 8.19 | DISULFOTON_OXON | . | 2 | 4.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57631 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67684 | 0.12158 | 0.64225 | 0.23565 | 0.17469
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-07-24 | ng/L | 0.34432 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.095 | DISULFOTON_OXON | . | 2 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34432 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49898 | 0.13474 | 0.56166 | 0.24664 | 0.18283
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-10-07 | ng/L | 0.59096 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.095 | DISULFOTON_OXON | . | 2 | 2.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59096 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49898 | 0.13474 | 0.56166 | 0.24664 | 0.18283
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-12-02 | ng/L | 0.56166 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 8.19 | DISULFOTON_OXON | . | 2 | 4.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56166 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49898 | 0.13474 | 0.56166 | 0.24664 | 0.18283
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-09-04 | ng/L | 0.51404 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 8.19 | DISULFOTON_OXON | E | 2 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51404 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80647 | 0.41356 | 0.80647 | 0.58486 | 0.43355
DISULFOTON OXON | 2437 | 68586LCM60 | 2014-09-10 | ng/L | 1.0989 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 4.095 | DISULFOTON_OXON | E | 2 | 4.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0989 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80647 | 0.41356 | 0.80647 | 0.58486 | 0.43355
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-12 | ng/L | 0.89731 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.94 | DISULFOTON_OXON | . | 2 | 5.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89731 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88384 | 0.17547 | 0.89731 | 0.35017 | 0.25958
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-12 | ng/L | 1.0522 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.94 | DISULFOTON_OXON | . | 2 | 6.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0522 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88384 | 0.17547 | 0.89731 | 0.35017 | 0.25958
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-12 | ng/L | 0.70202 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.94 | DISULFOTON_OXON | . | 2 | 4.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70202 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88384 | 0.17547 | 0.89731 | 0.35017 | 0.25958
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-04 | ng/L | 0.79667 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 3 | DISULFOTON_OXON | E | 2 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79667 |  | 0.79667 | 0 | 0
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-11 | ng/L | 0.74411 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 2.97 | DISULFOTON_OXON | . | 2 | 2.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74411 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83165 | 0.1238 | 0.83165 | 0.17508 | 0.12979
DISULFOTON OXON | 2437 | 68586LCM60 | 2015-08-11 | ng/L | 0.91919 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 2.97 | DISULFOTON_OXON | . | 2 | 2.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91919 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83165 | 0.1238 | 0.83165 | 0.17508 | 0.12979