## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON OXON SULFOXIDE | 2437 | 68587LCM60 | 2015-08-11 | ng/L | 0.82642 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 10.6 | DISULFOTON_OXON_SULFOXIDE | . | 7 | 8.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82642 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84057 | 0.047368 | 0.82642 | 0.091509 | 0.067835
DISULFOTON OXON SULFOXIDE | 2437 | 68587LCM60 | 2015-08-11 | ng/L | 0.80189 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 10.6 | DISULFOTON_OXON_SULFOXIDE | . | 7 | 8.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80189 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84057 | 0.047368 | 0.82642 | 0.091509 | 0.067835
DISULFOTON OXON SULFOXIDE | 2437 | 68587LCM60 | 2015-08-11 | ng/L | 0.8934 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 10.6 | DISULFOTON_OXON_SULFOXIDE | . | 7 | 9.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8934 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84057 | 0.047368 | 0.82642 | 0.091509 | 0.067835