## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-07-08 | ng/L | 0.69052 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 36.06 | DISULFOTON_SULFONE | . | 9 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69052 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69052 |  | 0.69052 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-08-16 | ng/L | 0.73211 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 18.03 | DISULFOTON_SULFONE | . | 9 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73211 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73211 |  | 0.73211 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-08-20 | ng/L | 0.79867 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 18.03 | DISULFOTON_SULFONE | . | 9 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79867 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79867 |  | 0.79867 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-09-23 | ng/L | 0.7748 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7748 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72742 | 0.089404 | 0.7748 | 0.15886 | 0.11776
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-11-18 | ng/L | 0.78317 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 35.88 | DISULFOTON_SULFONE | . | 9 | 28.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78317 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72742 | 0.089404 | 0.7748 | 0.15886 | 0.11776
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2015-04-08 | ng/L | 0.6243 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 11.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6243 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72742 | 0.089404 | 0.7748 | 0.15886 | 0.11776
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2013-12-19 | ng/L | 0.91966 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 292.5 | DISULFOTON_SULFONE | . | 9 | 269 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91966 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91966 |  | 0.91966 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-12-16 | ng/L | 0.90682 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 36.06 | DISULFOTON_SULFONE | . | 9 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90682 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90682 |  | 0.90682 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-05-17 | ng/L | 1.0312 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 18.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0489 | 0.18041 | 1.0312 | 0.35953 | 0.26652
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-06-11 | ng/L | 1.2375 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 71.76 | DISULFOTON_SULFONE | . | 9 | 88.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2375 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0489 | 0.18041 | 1.0312 | 0.35953 | 0.26652
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-06-26 | ng/L | 0.87793 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 35.88 | DISULFOTON_SULFONE | E | 9 | 31.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87793 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0489 | 0.18041 | 1.0312 | 0.35953 | 0.26652
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-07-24 | ng/L | 0.58528 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58528 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78781 | 0.1849 | 0.83055 | 0.36232 | 0.26858
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-10-07 | ng/L | 0.9476 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9476 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78781 | 0.1849 | 0.83055 | 0.36232 | 0.26858
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-12-02 | ng/L | 0.83055 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 35.88 | DISULFOTON_SULFONE | . | 9 | 29.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83055 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78781 | 0.1849 | 0.83055 | 0.36232 | 0.26858
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-09-04 | ng/L | 0.76923 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 35.88 | DISULFOTON_SULFONE | . | 9 | 27.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94482 | 0.24832 | 0.94482 | 0.35117 | 0.26032
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2014-09-10 | ng/L | 1.1204 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 17.94 | DISULFOTON_SULFONE | . | 9 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1204 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94482 | 0.24832 | 0.94482 | 0.35117 | 0.26032
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2015-07-15 | ng/L | 0.81111 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 27 | DISULFOTON_SULFONE | E | 9 | 21.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81111 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81111 |  | 0.81111 | 0 | 0
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2015-08-11 | ng/L | 0.97037 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.5 | DISULFOTON_SULFONE | E | 9 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97037 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78346 | 0.22373 | 0.84444 | 0.43481 | 0.32232
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2015-08-11 | ng/L | 0.84444 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.5 | DISULFOTON_SULFONE | E | 9 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84444 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78346 | 0.22373 | 0.84444 | 0.43481 | 0.32232
DISULFOTON SULFONE | 2437 | 68589LCM60 | 2015-08-11 | ng/L | 0.53556 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.5 | DISULFOTON_SULFONE | E | 9 | 7.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53556 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78346 | 0.22373 | 0.84444 | 0.43481 | 0.32232