## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-07-08 | ng/L | 0.78321 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.96 | DISULFOTON_SULFOXIDE | . | 4 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78321 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78321 |  | 0.78321 | 0 | 0
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-08-16 | ng/L | 0.84461 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 7.98 | DISULFOTON_SULFOXIDE | . | 4 | 6.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84461 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84461 |  | 0.84461 | 0 | 0
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-08-20 | ng/L | 1.5163 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.98 | DISULFOTON_SULFOXIDE | . | 4 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5163 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5163 |  | 1.5163 | 0 | 0
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-09-23 | ng/L | 1.595 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.595 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.73 | 0.19726 | 1.6386 | 0.36137 | 0.26788
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-11-18 | ng/L | 1.6386 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 16.05 | DISULFOTON_SULFOXIDE | . | 4 | 26.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6386 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.73 | 0.19726 | 1.6386 | 0.36137 | 0.26788
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2015-04-08 | ng/L | 1.9564 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9564 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.73 | 0.19726 | 1.6386 | 0.36137 | 0.26788
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-12-16 | ng/L | 3.1266 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 15.96 | DISULFOTON_SULFOXIDE | . | 4 | 49.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-05-17 | ng/L | 2.8785 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 23.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-06-11 | ng/L | 5.1713 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 32.1 | DISULFOTON_SULFOXIDE | E | 4 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-06-26 | ng/L | 3.1589 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 16.05 | DISULFOTON_SULFOXIDE | . | 4 | 50.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-07-24 | ng/L | 0.72523 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 5.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72523 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83157 | 0.12684 | 0.79751 | 0.24673 | 0.1829
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-10-07 | ng/L | 0.79751 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 6.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79751 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83157 | 0.12684 | 0.79751 | 0.24673 | 0.1829
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-12-02 | ng/L | 0.97196 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 16.05 | DISULFOTON_SULFOXIDE | . | 4 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97196 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83157 | 0.12684 | 0.79751 | 0.24673 | 0.1829
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-09-04 | ng/L | 0.64174 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 16.05 | DISULFOTON_SULFOXIDE | E | 4 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64174 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2305 | 0.83267 | 1.2305 | 1.1776 | 0.87292
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2014-09-10 | ng/L | 1.8193 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 8.025 | DISULFOTON_SULFOXIDE | . | 4 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8193 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2305 | 0.83267 | 1.2305 | 1.1776 | 0.87292
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2015-07-15 | ng/L | 1.8833 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 12 | DISULFOTON_SULFOXIDE | E | 4 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8833 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.8833 |  | 1.8833 | 0 | 0
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2015-08-11 | ng/L | 0.95702 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.05 | DISULFOTON_SULFOXIDE | . | 4 | 5.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95702 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.005 | 0.067789 | 1.005 | 0.095868 | 0.071066
DISULFOTON SULFOXIDE | 2437 | 68590LCM60 | 2015-08-11 | ng/L | 1.0529 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.05 | DISULFOTON_SULFOXIDE | . | 4 | 6.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.005 | 0.067789 | 1.005 | 0.095868 | 0.071066