## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FAMOXADONE | 2437 | 67609LCM60 | 2014-07-19 | ng/L | 0.39331 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 240.27 | FAMOXADONE | E | 60 | 94.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39331 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.39331 |  | 0.39331 | 0 | 0
FAMOXADONE | 2437 | 67609LCM60 | 2014-09-23 | ng/L | 0.41953 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 120.135 | FAMOXADONE | E | 60 | 50.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41953 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.34988 | 0.21786 | 0.41953 | 0.4187 | 0.31037
FAMOXADONE | 2437 | 67609LCM60 | 2014-11-18 | ng/L | 0.52441 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 240.27 | FAMOXADONE | E | 60 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52441 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.34988 | 0.21786 | 0.41953 | 0.4187 | 0.31037
FAMOXADONE | 2437 | 67609LCM60 | 2015-04-08 | ng/L | 0.10571 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 120.135 | FAMOXADONE | E | 60 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.10571 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.34988 | 0.21786 | 0.41953 | 0.4187 | 0.31037
FAMOXADONE | 2437 | 67609LCM60 | 2014-12-16 | ng/L | 0.44161 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 240.03 | FAMOXADONE | E | 60 | 106 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44161 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.44161 |  | 0.44161 | 0 | 0
FAMOXADONE | 2437 | 67609LCM60 | 2014-06-11 | ng/L | 0.041036 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 480.06 | FAMOXADONE | E | 60 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.041037 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.041037 |  | 0.041037 | 0 | 0
FAMOXADONE | 2437 | 67609LCM60 | 2015-04-09 | ng/L | 0.31298 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 120.135 | FAMOXADONE | E | 60 | 37.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31298 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.31298 |  | 0.31298 | 0 | 0
FAMOXADONE | 2437 | 67609LCM60 | 2014-08-17 | ng/L | 0.44494 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 120.015 | FAMOXADONE | E | 60 | 53.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44494 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.56618 | 0.17145 | 0.56618 | 0.24247 | 0.17974
FAMOXADONE | 2437 | 67609LCM60 | 2014-10-07 | ng/L | 0.68741 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 240.03 | FAMOXADONE | E | 60 | 165 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68741 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.56618 | 0.17145 | 0.56618 | 0.24247 | 0.17974
FAMOXADONE | 2437 | 67609LCM60 | 2015-08-11 | ng/L | 0.12778 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 90 | FAMOXADONE | E | 60 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12778 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.12778 |  | 0.12778 | 0 | 0