## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS | 2437 | 68599LCM60 | 2014-01-23 | ng/L | 0.65337 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 326 | FENAMIPHOS | E | 2 | 213 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65337 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65337 |  | 0.65337 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-07-19 | ng/L | 0.59359 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 7.8 | FENAMIPHOS | E | 2 | 4.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59359 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59359 |  | 0.59359 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-12-02 | ng/L | 0.54815 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 8.1 | FENAMIPHOS | E | 2 | 4.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54815 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54815 |  | 0.54815 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-08-20 | ng/L | 0.5359 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 3.9 | FENAMIPHOS | E | 2 | 2.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5359 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5359 |  | 0.5359 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-09-23 | ng/L | 0.68974 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 3.9 | FENAMIPHOS | E | 2 | 2.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68974 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59701 | 0.094944 | 0.60128 | 0.18974 | 0.14065
FENAMIPHOS | 2437 | 68599LCM60 | 2014-11-18 | ng/L | 0.60128 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 7.8 | FENAMIPHOS | . | 2 | 4.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60128 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.59701 | 0.094944 | 0.60128 | 0.18974 | 0.14065
FENAMIPHOS | 2437 | 68599LCM60 | 2015-04-08 | ng/L | 0.5 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 3.9 | FENAMIPHOS | E | 2 | 1.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59701 | 0.094944 | 0.60128 | 0.18974 | 0.14065
FENAMIPHOS | 2437 | 68599LCM60 | 2013-12-19 | ng/L | 0.80491 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 815 | FENAMIPHOS | E | 2 | 656 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80491 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80491 |  | 0.80491 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-12-16 | ng/L | 0.42469 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 8.1 | FENAMIPHOS | E | 2 | 3.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42469 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42469 |  | 0.42469 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2015-04-15 | ng/L | 0.40247 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 4.05 | FENAMIPHOS | E | 2 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40247 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40247 |  | 0.40247 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-06-11 | ng/L | 0.62963 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 16.2 | FENAMIPHOS | E | 2 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62963 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60988 | 0.027935 | 0.60988 | 0.039506 | 0.029286
FENAMIPHOS | 2437 | 68599LCM60 | 2014-06-26 | ng/L | 0.59012 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 8.1 | FENAMIPHOS | E | 2 | 4.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59012 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60988 | 0.027935 | 0.60988 | 0.039506 | 0.029286
FENAMIPHOS | 2437 | 68599LCM60 | 2015-07-15 | ng/L | 0.94 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 6 | FENAMIPHOS | E | 2 | 5.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94 |  | 0.94 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-01-10 | ng/L | 0.56442 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 326 | FENAMIPHOS | E | 2 | 184 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56442 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56442 |  | 0.56442 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2015-04-09 | ng/L | 0.46154 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 3.9 | FENAMIPHOS | E | 2 | 1.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46154 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46154 |  | 0.46154 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2014-08-17 | ng/L | 0.25432 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 4.05 | FENAMIPHOS | E | 2 | 1.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25432 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38086 | 0.17896 | 0.38086 | 0.25309 | 0.18761
FENAMIPHOS | 2437 | 68599LCM60 | 2014-10-07 | ng/L | 0.50741 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 8.1 | FENAMIPHOS | E | 2 | 4.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50741 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38086 | 0.17896 | 0.38086 | 0.25309 | 0.18761
FENAMIPHOS | 2437 | 68599LCM60 | 2015-08-11 | ng/L | 0.69967 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 3.03 | FENAMIPHOS | . | 2 | 2.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69967 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76568 | 0.071473 | 0.75578 | 0.14191 | 0.1052
FENAMIPHOS | 2437 | 68599LCM60 | 2015-08-11 | ng/L | 0.84158 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 3.03 | FENAMIPHOS | . | 2 | 2.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84158 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76568 | 0.071473 | 0.75578 | 0.14191 | 0.1052
FENAMIPHOS | 2437 | 68599LCM60 | 2015-08-11 | ng/L | 0.75578 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 3.03 | FENAMIPHOS | . | 2 | 2.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75578 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76568 | 0.071473 | 0.75578 | 0.14191 | 0.1052
FENAMIPHOS | 2437 | 68599LCM60 | 2014-02-19 | ng/L | 0.78495 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 797.5 | FENAMIPHOS | E | 2 | 626 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78495 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78495 |  | 0.78495 | 0 | 0
FENAMIPHOS | 2437 | 68599LCM60 | 2013-11-07 | ng/L | 0.67398 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 319 | FENAMIPHOS | E | 2 | 215 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67398 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.67398 |  | 0.67398 | 0 | 0