## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-07-08 | ng/L | 0.68452 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 20.16 | FENAMIPHOS_SULFONE | . | 5 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68452 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68452 |  | 0.68452 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-08-16 | ng/L | 0.63492 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 10.08 | FENAMIPHOS_SULFONE | . | 5 | 6.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63492 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63492 |  | 0.63492 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-01-23 | ng/L | 0.85786 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 401 | FENAMIPHOS_SULFONE | E | 5 | 344 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85786 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85786 |  | 0.85786 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-08-20 | ng/L | 0.56448 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 10.08 | FENAMIPHOS_SULFONE | . | 5 | 5.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56448 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56448 |  | 0.56448 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-09-23 | ng/L | 0.68466 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 6.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68466 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70931 | 0.060841 | 0.68466 | 0.11394 | 0.084465
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-11-18 | ng/L | 0.66467 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 20.01 | FENAMIPHOS_SULFONE | . | 5 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66467 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70931 | 0.060841 | 0.68466 | 0.11394 | 0.084465
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-04-08 | ng/L | 0.77861 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 7.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77861 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70931 | 0.060841 | 0.68466 | 0.11394 | 0.084465
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2013-12-19 | ng/L | 1.0175 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 1002.5 | FENAMIPHOS_SULFONE | E | 5 | 1020 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0175 |  | 1.0175 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-12-16 | ng/L | 0.77381 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 20.16 | FENAMIPHOS_SULFONE | . | 5 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77381 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77381 |  | 0.77381 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-05-17 | ng/L | 0.72464 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 7.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72464 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98784 | 0.25757 | 0.9995 | 0.51474 | 0.38157
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-06-11 | ng/L | 1.2394 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 40.02 | FENAMIPHOS_SULFONE | E | 5 | 49.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2394 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.98784 | 0.25757 | 0.9995 | 0.51474 | 0.38157
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-06-26 | ng/L | 0.9995 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 20.01 | FENAMIPHOS_SULFONE | . | 5 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9995 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98784 | 0.25757 | 0.9995 | 0.51474 | 0.38157
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-07-24 | ng/L | 0.78061 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 7.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78061 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7986 | 0.019662 | 0.7956 | 0.038981 | 0.028896
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-10-07 | ng/L | 0.7956 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 7.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7956 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7986 | 0.019662 | 0.7956 | 0.038981 | 0.028896
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-12-02 | ng/L | 0.81959 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 20.01 | FENAMIPHOS_SULFONE | . | 5 | 16.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81959 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7986 | 0.019662 | 0.7956 | 0.038981 | 0.028896
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-09-04 | ng/L | 0.47976 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 20.01 | FENAMIPHOS_SULFONE | . | 5 | 9.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47976 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76962 | 0.40992 | 0.76962 | 0.57971 | 0.42973
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-09-10 | ng/L | 1.0595 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 10.005 | FENAMIPHOS_SULFONE | . | 5 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0595 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76962 | 0.40992 | 0.76962 | 0.57971 | 0.42973
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-12 | ng/L | 0.90186 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.08 | FENAMIPHOS_SULFONE | . | 5 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90186 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90186 | 0.079576 | 0.90186 | 0.15915 | 0.11798
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-12 | ng/L | 0.98143 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.08 | FENAMIPHOS_SULFONE | . | 5 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98143 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90186 | 0.079576 | 0.90186 | 0.15915 | 0.11798
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-12 | ng/L | 0.82228 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.08 | FENAMIPHOS_SULFONE | . | 5 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82228 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90186 | 0.079576 | 0.90186 | 0.15915 | 0.11798
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-01-10 | ng/L | 1.1571 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 401 | FENAMIPHOS_SULFONE | E | 5 | 464 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1571 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1571 |  | 1.1571 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-04 | ng/L | 0.976 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 7.5 | FENAMIPHOS_SULFONE | E | 5 | 7.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.976 |  | 0.976 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-11 | ng/L | 0.94032 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.54 | FENAMIPHOS_SULFONE | . | 5 | 7.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94032 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99138 | 0.072211 | 0.99138 | 0.10212 | 0.075702
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2015-08-11 | ng/L | 1.0424 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.54 | FENAMIPHOS_SULFONE | . | 5 | 7.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99138 | 0.072211 | 0.99138 | 0.10212 | 0.075702
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2014-02-19 | ng/L | 1.1371 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 985 | FENAMIPHOS_SULFONE | . | 5 | 1120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1371 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1371 |  | 1.1371 | 0 | 0
FENAMIPHOS SULFONE | 2437 | 68600LCM60 | 2013-11-07 | ng/L | 0.87056 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 394 | FENAMIPHOS_SULFONE | E | 5 | 343 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87056 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87056 |  | 0.87056 | 0 | 0