## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-07-08 | ng/L | 0.93393 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 20.13 | FENAMIPHOS_SULFOXIDE | . | 5 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93393 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93393 |  | 0.93393 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-08-16 | ng/L | 0.89419 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 10.065 | FENAMIPHOS_SULFOXIDE | . | 5 | 9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89419 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89419 |  | 0.89419 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-01-23 | ng/L | 1.0395 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 811 | FENAMIPHOS_SULFOXIDE | E | 5 | 843 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0395 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0395 |  | 1.0395 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-08-20 | ng/L | 0.71634 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 10.065 | FENAMIPHOS_SULFOXIDE | E | 5 | 7.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71634 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71634 |  | 0.71634 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-09-23 | ng/L | 1.0279 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.02 | FENAMIPHOS_SULFOXIDE | . | 5 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0279 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95309 | 0.12964 | 1.0279 | 0.22455 | 0.16646
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-11-18 | ng/L | 0.80339 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 20.04 | FENAMIPHOS_SULFOXIDE | . | 5 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80339 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95309 | 0.12964 | 1.0279 | 0.22455 | 0.16646
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-04-08 | ng/L | 1.0279 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 10.02 | FENAMIPHOS_SULFOXIDE | . | 5 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0279 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95309 | 0.12964 | 1.0279 | 0.22455 | 0.16646
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2013-12-19 | ng/L | 1.1591 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 2027.5 | FENAMIPHOS_SULFOXIDE | . | 5 | 2350 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1591 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1591 |  | 1.1591 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-12-16 | ng/L | 1.083 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 20.13 | FENAMIPHOS_SULFOXIDE | . | 5 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.083 |  | 1.083 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-06-11 | ng/L | 1.7889 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 40.08 | FENAMIPHOS_SULFOXIDE | E | 5 | 71.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7889 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3885 | 0.56632 | 1.3885 | 0.8009 | 0.5937
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-06-26 | ng/L | 0.98802 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 20.04 | FENAMIPHOS_SULFOXIDE | . | 5 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98802 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3885 | 0.56632 | 1.3885 | 0.8009 | 0.5937
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-07-24 | ng/L | 0.82535 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.02 | FENAMIPHOS_SULFOXIDE | . | 5 | 8.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82535 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88922 | 0.055396 | 0.91816 | 0.098802 | 0.073241
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-10-07 | ng/L | 0.92415 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.02 | FENAMIPHOS_SULFOXIDE | . | 5 | 9.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92415 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88922 | 0.055396 | 0.91816 | 0.098802 | 0.073241
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-12-02 | ng/L | 0.91816 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 20.04 | FENAMIPHOS_SULFOXIDE | . | 5 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91816 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88922 | 0.055396 | 0.91816 | 0.098802 | 0.073241
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-09-04 | ng/L | 0.58383 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 20.04 | FENAMIPHOS_SULFOXIDE | . | 5 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58383 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1801 | 0.84331 | 1.1801 | 1.1926 | 0.88407
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-09-10 | ng/L | 1.7764 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 10.02 | FENAMIPHOS_SULFOXIDE | . | 5 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7764 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1801 | 0.84331 | 1.1801 | 1.1926 | 0.88407
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-07-15 | ng/L | 1.2 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 15 | FENAMIPHOS_SULFOXIDE | E | 5 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2 |  | 1.2 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-08-12 | ng/L | 1.6133 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | FENAMIPHOS_SULFOXIDE | . | 5 | 24.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6133 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1711 | 0.39194 | 1.0333 | 0.74667 | 0.5535
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-08-12 | ng/L | 1.0333 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | FENAMIPHOS_SULFOXIDE | . | 5 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1711 | 0.39194 | 1.0333 | 0.74667 | 0.5535
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-08-12 | ng/L | 0.86667 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15 | FENAMIPHOS_SULFOXIDE | . | 5 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1711 | 0.39194 | 1.0333 | 0.74667 | 0.5535
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-01-10 | ng/L | 1.3687 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 811 | FENAMIPHOS_SULFOXIDE | E | 5 | 1110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3687 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3687 |  | 1.3687 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2015-08-04 | ng/L | 1.3459 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 7.43 | FENAMIPHOS_SULFOXIDE | . | 5 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3459 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3459 |  | 1.3459 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2014-02-19 | ng/L | 1.2995 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 1970 | FENAMIPHOS_SULFOXIDE | . | 5 | 2560 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2995 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2995 |  | 1.2995 | 0 | 0
FENAMIPHOS SULFOXIDE | 2437 | 68601LCM60 | 2013-11-07 | ng/L | 0.99239 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 788.0001 | FENAMIPHOS_SULFOXIDE | . | 5 | 782 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99239 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99239 |  | 0.99239 | 0 | 0