## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENBUTATIN OXIDE | 2437 | 68602LCM60 | 2014-12-16 | ng/L | 0.38587 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 79.56 | FENBUTATIN_OXIDE | E | 20 | 30.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38587 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.38587 |  | 0.38587 | 0 | 0
FENBUTATIN OXIDE | 2437 | 68602LCM60 | 2014-06-11 | ng/L | 0.39072 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 159.96 | FENBUTATIN_OXIDE | E | 20 | 62.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39072 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.37291 | 0.025197 | 0.37291 | 0.035634 | 0.026415
FENBUTATIN OXIDE | 2437 | 68602LCM60 | 2014-06-26 | ng/L | 0.35509 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 79.98 | FENBUTATIN_OXIDE | E | 20 | 28.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35509 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.37291 | 0.025197 | 0.37291 | 0.035634 | 0.026415