## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2013-12-10 | ng/L | 0.945 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 200 | FIPRONIL_SULFONE | E | 4 | 189 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.945 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.945 |  | 0.945 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-01-28 | ng/L | 0.85333 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 300 | FIPRONIL_SULFONE | . | 4 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85333 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85333 |  | 0.85333 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-07-19 | ng/L | 0.99184 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.93 | FIPRONIL_SULFONE | . | 4 | 15.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99184 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99184 |  | 0.99184 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-12-03 | ng/L | 0.92081 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 16.29 | FIPRONIL_SULFONE | . | 4 | 15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92081 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92081 |  | 0.92081 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-08-19 | ng/L | 0.89266 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.965 | FIPRONIL_SULFONE | E | 4 | 7.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89266 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89266 |  | 0.89266 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-09-23 | ng/L | 1.1513 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.965 | FIPRONIL_SULFONE | . | 4 | 9.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1513 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.317 | 0.21267 | 1.2429 | 0.40552 | 0.30061
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-11-18 | ng/L | 1.2429 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 15.93 | FIPRONIL_SULFONE | . | 4 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2429 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.317 | 0.21267 | 1.2429 | 0.40552 | 0.30061
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-04-07 | ng/L | 1.5568 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.965 | FIPRONIL_SULFONE | . | 4 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5568 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.317 | 0.21267 | 1.2429 | 0.40552 | 0.30061
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2013-09-28 | ng/L | 0.94 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 200 | FIPRONIL_SULFONE | . | 4 | 188 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94 |  | 0.94 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2013-12-18 | ng/L | 0.63733 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 750 | FIPRONIL_SULFONE | . | 4 | 478 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63733 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63733 |  | 0.63733 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-12-16 | ng/L | 1.0436 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 16.29 | FIPRONIL_SULFONE | . | 4 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0436 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0436 |  | 1.0436 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-04-15 | ng/L | 0.47391 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 8.145 | FIPRONIL_SULFONE | . | 4 | 3.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47391 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47391 |  | 0.47391 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-05-21 | ng/L | 0.88152 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 8.145 | FIPRONIL_SULFONE | . | 4 | 7.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88152 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92715 | 0.040952 | 0.93923 | 0.07919 | 0.058703
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-06-10 | ng/L | 0.96071 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 32.58 | FIPRONIL_SULFONE | . | 4 | 31.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96071 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92715 | 0.040952 | 0.93923 | 0.07919 | 0.058703
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-06-25 | ng/L | 0.93923 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 16.29 | FIPRONIL_SULFONE | . | 4 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93923 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92715 | 0.040952 | 0.93923 | 0.07919 | 0.058703
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-01-07 | ng/L | 0.64765 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 298 | FIPRONIL_SULFONE | . | 4 | 193 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64765 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64765 |  | 0.64765 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-07-30 | ng/L | 1.1124 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.965 | FIPRONIL_SULFONE | E | 4 | 8.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1124 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.99309 | 0.16868 | 0.99309 | 0.23854 | 0.17683
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-04-02 | ng/L | 0.87382 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.965 | FIPRONIL_SULFONE | . | 4 | 6.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87382 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99309 | 0.16868 | 0.99309 | 0.23854 | 0.17683
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-08-13 | ng/L | 1.3874 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.145 | FIPRONIL_SULFONE | E | 4 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3874 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2953 | 0.13022 | 1.2953 | 0.18416 | 0.13652
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-10-07 | ng/L | 1.2032 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.29 | FIPRONIL_SULFONE | E | 4 | 19.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2032 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2953 | 0.13022 | 1.2953 | 0.18416 | 0.13652
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-08-11 | ng/L | 0.98492 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | FIPRONIL_SULFONE | . | 4 | 5.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98492 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98213 | 0.052819 | 0.98492 | 0.10553 | 0.078227
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-08-11 | ng/L | 1.0335 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | FIPRONIL_SULFONE | . | 4 | 6.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0335 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98213 | 0.052819 | 0.98492 | 0.10553 | 0.078227
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2015-08-11 | ng/L | 0.92797 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | FIPRONIL_SULFONE | . | 4 | 5.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92797 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98213 | 0.052819 | 0.98492 | 0.10553 | 0.078227
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2014-02-19 | ng/L | 0.80537 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 745 | FIPRONIL_SULFONE | . | 4 | 600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80537 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80537 |  | 0.80537 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2013-11-19 | ng/L | 0.86333 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 300 | FIPRONIL_SULFONE | . | 4 | 259 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86333 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86333 |  | 0.86333 | 0 | 0
FIPRONIL SULFONE | 2437 | 66613LCM60 | 2013-12-17 | ng/L | 0.81 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 200 | FIPRONIL_SULFONE | . | 4 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81 |  | 0.81 | 0 | 0