## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUMETSULAM | 2437 | 61679LCM60 | 2014-07-19 | ng/L | 1.2798 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 67.59 | FLUMETSULAM | E | 17 | 86.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2798 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.2798 |  | 1.2798 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-12-02 | ng/L | 1.2228 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 68.37 | FLUMETSULAM | E | 17 | 83.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2228 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.2228 |  | 1.2228 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-08-20 | ng/L | 0.92913 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 33.795 | FLUMETSULAM | E | 17 | 31.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92913 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.92913 |  | 0.92913 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-09-23 | ng/L | 1.3789 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 33.795 | FLUMETSULAM | E | 17 | 46.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3789 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2487 | 0.12012 | 1.225 | 0.23672 | 0.17548
FLUMETSULAM | 2437 | 61679LCM60 | 2014-11-18 | ng/L | 1.1422 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 67.59 | FLUMETSULAM | E | 17 | 77.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1422 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2487 | 0.12012 | 1.225 | 0.23672 | 0.17548
FLUMETSULAM | 2437 | 61679LCM60 | 2015-04-08 | ng/L | 1.225 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 33.795 | FLUMETSULAM | E | 17 | 41.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.2487 | 0.12012 | 1.225 | 0.23672 | 0.17548
FLUMETSULAM | 2437 | 61679LCM60 | 2014-12-16 | ng/L | 1.1365 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 68.37 | FLUMETSULAM | E | 17 | 77.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1365 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.1365 |  | 1.1365 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2015-04-15 | ng/L | 1.7903 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 34.185 | FLUMETSULAM | E | 17 | 61.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7903 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.7903 |  | 1.7903 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-05-17 | ng/L | 1.0531 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 34.185 | FLUMETSULAM | E | 17 | 36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0531 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3159 | 0.35413 | 1.176 | 0.6655 | 0.49333
FLUMETSULAM | 2437 | 61679LCM60 | 2014-06-11 | ng/L | 1.7186 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 136.74 | FLUMETSULAM | E | 17 | 235 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7186 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3159 | 0.35413 | 1.176 | 0.6655 | 0.49333
FLUMETSULAM | 2437 | 61679LCM60 | 2014-06-26 | ng/L | 1.176 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 68.37 | FLUMETSULAM | E | 17 | 80.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.176 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.3159 | 0.35413 | 1.176 | 0.6655 | 0.49333
FLUMETSULAM | 2437 | 61679LCM60 | 2015-04-09 | ng/L | 1.0386 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 33.795 | FLUMETSULAM | E | 17 | 35.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0386 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0386 |  | 1.0386 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-08-17 | ng/L | 1.331 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 34.185 | FLUMETSULAM | E | 17 | 45.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.331 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.2498 | 0.1148 | 1.2498 | 0.16235 | 0.12035
FLUMETSULAM | 2437 | 61679LCM60 | 2014-10-07 | ng/L | 1.1686 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 68.37 | FLUMETSULAM | E | 17 | 79.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1686 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.2498 | 0.1148 | 1.2498 | 0.16235 | 0.12035
FLUMETSULAM | 2437 | 61679LCM60 | 2015-08-11 | ng/L | 1.4528 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 25.4 | FLUMETSULAM | E | 17 | 36.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4528 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.332 | 0.10463 | 1.2756 | 0.18504 | 0.13717
FLUMETSULAM | 2437 | 61679LCM60 | 2015-08-11 | ng/L | 1.2756 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 25.4 | FLUMETSULAM | E | 17 | 32.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2756 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.332 | 0.10463 | 1.2756 | 0.18504 | 0.13717
FLUMETSULAM | 2437 | 61679LCM60 | 2015-08-11 | ng/L | 1.2677 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 25.4 | FLUMETSULAM | E | 17 | 32.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2677 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.332 | 0.10463 | 1.2756 | 0.18504 | 0.13717
FLUMETSULAM | 2437 | 61679LCM60 | 2014-02-06 | ng/L | 1.2977 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 477 | FLUMETSULAM | E | 17 | 619 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2977 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.2977 |  | 1.2977 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2013-10-31 | ng/L | 1.3474 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 475 | FLUMETSULAM | E | 17 | 640 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3474 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.3474 |  | 1.3474 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2014-03-04 | ng/L | 1.1803 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 477 | FLUMETSULAM | E | 17 | 563 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1803 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.1803 |  | 1.1803 | 0 | 0
FLUMETSULAM | 2437 | 61679LCM60 | 2013-11-21 | ng/L | 1.4507 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 477 | FLUMETSULAM | E | 17 | 692 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4507 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.4507 |  | 1.4507 | 0 | 0