## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUOMETURON | 2437 | 68608LCM60 | 2014-07-08 | ng/L | 0.84788 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12.03 | FLUOMETURON | . | 3 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84788 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84788 |  | 0.84788 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2014-08-16 | ng/L | 1.3882 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.015 | FLUOMETURON | . | 3 | 8.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3882 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3882 |  | 1.3882 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2014-08-20 | ng/L | 0.90441 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 6.015 | FLUOMETURON | . | 3 | 5.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90441 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90441 |  | 0.90441 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2014-09-23 | ng/L | 1.1617 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6.06 | FLUOMETURON | . | 3 | 7.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1617 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1007 | 0.086346 | 1.1007 | 0.12211 | 0.090521
FLUOMETURON | 2437 | 68608LCM60 | 2014-11-18 | ng/L | 1.0396 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12.12 | FLUOMETURON | . | 3 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0396 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1007 | 0.086346 | 1.1007 | 0.12211 | 0.090521
FLUOMETURON | 2437 | 68608LCM60 | 2014-12-16 | ng/L | 1.0806 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 12.03 | FLUOMETURON | . | 3 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0806 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0806 |  | 1.0806 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2014-05-17 | ng/L | 1.1551 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 6.06 | FLUOMETURON | E | 3 | 7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1551 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0726 | 0.10305 | 1.1056 | 0.19802 | 0.14679
FLUOMETURON | 2437 | 68608LCM60 | 2014-06-11 | ng/L | 1.1056 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 24.24 | FLUOMETURON | . | 3 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1056 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0726 | 0.10305 | 1.1056 | 0.19802 | 0.14679
FLUOMETURON | 2437 | 68608LCM60 | 2014-06-26 | ng/L | 0.9571 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 12.12 | FLUOMETURON | . | 3 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9571 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0726 | 0.10305 | 1.1056 | 0.19802 | 0.14679
FLUOMETURON | 2437 | 68608LCM60 | 2014-07-24 | ng/L | 0.83003 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.06 | FLUOMETURON | . | 3 | 5.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83003 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90869 | 0.075337 | 0.91584 | 0.15017 | 0.11132
FLUOMETURON | 2437 | 68608LCM60 | 2014-10-07 | ng/L | 0.9802 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.06 | FLUOMETURON | . | 3 | 5.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9802 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90869 | 0.075337 | 0.91584 | 0.15017 | 0.11132
FLUOMETURON | 2437 | 68608LCM60 | 2014-12-02 | ng/L | 0.91584 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12.12 | FLUOMETURON | . | 3 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91584 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90869 | 0.075337 | 0.91584 | 0.15017 | 0.11132
FLUOMETURON | 2437 | 68608LCM60 | 2014-09-04 | ng/L | 0.93234 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.12 | FLUOMETURON | E | 3 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93234 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.104 | 0.2427 | 1.104 | 0.34323 | 0.25444
FLUOMETURON | 2437 | 68608LCM60 | 2014-09-10 | ng/L | 1.2756 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.06 | FLUOMETURON | . | 3 | 7.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2756 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.104 | 0.2427 | 1.104 | 0.34323 | 0.25444
FLUOMETURON | 2437 | 68608LCM60 | 2014-02-06 | ng/L | 1.0344 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 320 | FLUOMETURON | . | 3 | 331 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0344 |  | 1.0344 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2013-10-31 | ng/L | 1.2063 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 320 | FLUOMETURON | . | 3 | 386 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2063 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2063 |  | 1.2063 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2014-03-04 | ng/L | 1.0437 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 320 | FLUOMETURON | . | 3 | 334 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0437 |  | 1.0437 | 0 | 0
FLUOMETURON | 2437 | 68608LCM60 | 2013-11-21 | ng/L | 1.3906 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 320 | FLUOMETURON | . | 3 | 445 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3906 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3906 |  | 1.3906 | 0 | 0